6. ENGINEERING SYSTEMS REQUIREMENTS

B10 SUPERSTRUCTURE

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
SUPERSTRUCTURE TEMPLATE 09/22

Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element B10-SUPERSTRUCTURE. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is un-checked.

The Structural Team Member must edit this template for the requirements of the project and wherever brackets [ ] appear.  The Designer must use UFC 3-301-01, Structural Engineering, when determining project requirements.

The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility. Room-specific requirements are defined in the Part 3 Chapter 5 ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Delete all elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION B10 (Section B10) to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.

There may be rare occasions when prescriptive specifications may either be edited and included in Part 5 of the RFP or required in Section B10 to be edited by the Contractor's Designer of Record. In both cases, the Engineering Systems Requirements (ESR) must include references to these documents.
**********************************************************************************************************

********************************************************************************************************** 
NOTE: Consider each superstructure system component relative to UFGS Section 01 33 29, Sustainability Requirements and Reportingand UFC 01-200-02, High Performance and Sustainable Building Requirements.
**********************************************************************************************************

SYSTEM DESCRIPTION
Provide the building framing system in accordance with UFC 4-420-01, Ammunition and Explosive Storage Magazines,and Whole Building Design Guide (WBDG) definitive drawings for high explosive storage magazines.

********************************************************************************************************** 
NOTE:  Provide information for special live loads, concentrated loads, and extraordinary events (e.g., terrorism threats, accidental blast).  Normally, special loads and extraordinary events are not required and the following paragraphs will be deleted.
**********************************************************************************************************

In addition, design the structure in accordance with the following loading criteria:

Live Loads: As noted on definitive drawings.

********************************************************************************************************** 
NOTE:  If the actual soil conditions are very poor the floor loading may be reduced if it can be demonstrated that a reduced floor loading will be acceptable at specific sites.
**********************************************************************************************************

B1010 FLOOR CONSTRUCTION

********************************************************************************************************** 
NOTE: Edit the following paragraph to include or exclude specific floor constructions as appropriate, or to permit any floor structural framing system.
**********************************************************************************************************

The floor must be as shown on definitive drawings. [ If the local site conditions are not suitable for the applicable floor loading, the floor must be redesigned to accommodate the require loading.] [if the actual soil conditions are very poor the floor loading may be reduced if it can be demonstrated that a reduced floor loading will be acceptable at specific sites ]

B1020 ROOF CONSTRUCTION

********************************************************************************************************** 
NOTE: Edit the following paragraph to include or exclude specific roof constructions as appropriate, or to permit any roof structural framing system.
**********************************************************************************************************

The roof must be constructed as shown on the definitive drawings.

--End of Section--