PART THREE - PROJECT PROGRAM

Project Program

Fire Station
P-00
FY0?
Category Code 730.10

Activity Location
City, State

Date 

********************************************************************************************************** 
NOTE:  This is a hidden text note that will not print when the HIDDEN TEXT box on the Print tab under "Tools-Options" is unchecked.
Enter appropriate information such as the Project Title and location following the headings shown to the right.  These headings are right-justified text and the information entered should remain right justified.  Also enter Project title, location, and contract number information for page headers under the Header and Footer view.
**********************************************************************************************************

********************************************************************************************************** 
NOTE:  Fire Stations UFC 4-730-10 latest edition shall be used as reference and in conjunction with the writing of this RFP document.  Sections of the UFC will be referenced specifically throughout this RFP document.
**********************************************************************************************************

TABLE OF CONTENTS

********************************************************************************************************** 
NOTE:  Enter the appropriate page numbers at the # symbols below.
**********************************************************************************************************

COVER PAGE...........................................................#

TABLE OF CONTENTS..............................................#

1.  PROJECT DESCRIPTION.....................................#

2.  PROJECT OBJECTIVES........................................#
    2.1.  Mission Statement..........................................  
    2.2.  Facility Function.............................................
    2.3.  Project Specific Priorities.................................
    2.4.  Appropriate Design........................................ 
    2.5.  Workflow Process...........................................    
    2.6.  Special Design Challenges............................... 
    2.7  Adaptability and Flexibility................................

3.  SITE ANALYSIS..................................................#
    3.1  Existing Site Conditions...................................    
    3.2  Site Development Requirements.......................

4.  BUILDING REQUIREMENTS...............................#
    4.1  Space Tabulation............................................    
    4.2  Space Relationships........................................    
    4.3  Exterior Character...........................................

5.  ROOM REQUIREMENTS......................................#

6.  ENGINEERING SYSTEMS REQUIREMENTS..........#
    A10    Foundations................................................    
    A20    Basement Construction................................ 
    B10    Superstructure............................................    
    B20    Exterior Closure..........................................    
    B30    Roofing......................................................    
    C10    Interior Construction...................................    
    C20    Stairs........................................................    
    C30    Interior Finishes.........................................    
    D10    Conveying Systems....................................    
    D20    Plumbing...................................................    
    D30    HVAC........................................................    
    D40    Fire Protection Systems...............................    
    D50    Electrical Power and Lighting.......................    
    E10    Equipment.................................................    
    E20    Furnishings................................................    
    F10    Special Construction....................................     
    F20    Selective Building Demolition........................    
    G10    Site Preparations........................................    
    G20    Site Improvements.....................................    
    G30    Site Mechanical Utilities...............................    
    G40    Site Electrical Utilities.................................       
     
Part 3 contains the project description, functional and performance requirements, scope items, and expected quality levels that exceed Part 4.  Part 4 identifies design criteria, verification requirements, and performance and quality requirements of products.  See "Order of Precedence" paragraph in Part 2 for relationships between all parts of this RFP.

See attached document(s), 'part_three_master_document_fs.doc,' in the 'attachments' directory.