SITE ANALYSIS

********************************************************************************************************** 
NOTE:    This is a hidden text note that will not print when the HIDDEN TEXT box in "Print -Options" is unchecked. 

This section includes the description of all site related information broken out into Existing Site Conditions and Site Development Requirements.

Provide graphics and photos on requirements that can be illustrated in this Section.    Large scale graphics / drawings can be included as attachments in Part 6 of the RFP.    Also enter Project title, location, and contract number information for page headers under the Header and Footer view.
**********************************************************************************************************

3.1 Existing Site Conditions

********************************************************************************************************** 
NOTE:    The following outlines the types of information typically addressed.    Provide subheadings and information applicable to the project.

3.1.1 Natural Constraints

Topography
Vegetation / Landscaping
Wildlife
Climatology (Solar orientation, etc.)
Wetlands
Reference Geotechnical Soils Report if applicable.
Indicate environmental restrictions if applicable.
Radon Contamination (Refer to EPA Radon Zone Map)
Reference Wave, Current and Tide Reports if applicable
Hydrographic Survey if applicable
UXO Survey or Evaluation Reports if applicable
Existing Waterfront Facility (above and underwater) Inspection Reports if applicable
Coral or Other Marine Life Maps/Reports if applicable

3.1.2 Man made

Existing Vehicular Access and Circulation
Site Utilities
Site Drainage & Storm Water Runoff (hydrology)
Existing Buildings (Provide photographs of buildings on site and surrounding buildings)    
Existing Waterfront Facilities (Wharf, Pier, Bulkhead, Caisson, Drydock, Mooring Dolphin, Mooring Island,    Boat Ramp etc. Provide photographs of waterfront site and surrounding waterfront facilities) if applicable 
Existing Mooring Hardware and Fender System (provide photographs of marine hardware and fender) if applicable
Existing Dredging
Hazardous Material
Fencing
Adjacent Land Use
Cultural Resources (historical, archeological)
AICUZ / Explosive Arcs / HERO
Permits

**********************************************************************************************************

3.2 Site Development Requirements

********************************************************************************************************** 
NOTE:    The following outlines the types of information typically addressed.    Provide subheadings and information applicable to the project.

3.2.1    Facility footprint

Building Footprint
Wharf, Pier, Drydock Footprint

3.2.2    Vehicular Access and Circulation

Parking
Service Access
Pedestrian Access and Circulation (flow, paths, sidewalks, etc.)
Recreational
Outdoor Activity Areas
Landscaping
Utilities
Signage
Site Drainage & Storm Water Runoff (hydrology)
Dewatering
Site / Building Demolition 
Site Clearing
Fencing (perimeter security)      
Construction Access / Lay down Area 
Permits
Sustainable Development
ATFP
UFAS / ADA
Master Planning 
Environmental Assessment (Constraint in the EA not the entire EA)

**********************************************************************************************************

********************************************************************************************************** 
NOTE:    For waterfront projects add the following:

3.2.3        Waterway Access
Describe in this paragraph or show on drawing the waterway/channel that would provide access to the site including areas where contractor barges can be berthed or unload equipment and material.
3.2.4        Environmental Constraints
Describe environmental constraints in addition to the Best Management Practices (BMP) during all construction work to prevent / minimize pollutant discharge into the harbor.    These constraints may include the following:

•	Use of silt curtains to enclose the work area to control turbidity during all in-water work.

•	Not allowing debris entering the water.

•	Prevent fresh concrete from entering the harbor during all concreting work.

•	Protection of marine life and coral

•	Other constraints provided in the Environmental and permit documents

3.2.5        Permitting and Agency Review
List the permits required for the project including U.S Army Corps of Engineers permit(s) for in-water construction and dredging and U.S. Fish and Wildlife Services coordination.    Identify who is to provide the permits, Government or Contractor.    If permit(s) are to be obtained by the Government:

•	What and when the Contractor needs to submit to the Government to support permit application

•	When the Government expect the permit(s) will be available

**********************************************************************************************************