6. ENGINEERING SYSTEMS REQUIREMENTS

B10 SUPERSTRUCTURE

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
SUPERSTRUCTURE TEMPLATE 12/08
 
Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element B10-SUPERSTRUCTURE. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is un-checked.
 
The Structural Team Member must edit this template for the requirements of the project and wherever brackets [ ] appear.    The Designer shall use UFC 3-300-10N when determining project requirements. 
 
The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility. . Room-specific requirements are defined in the ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Delete all elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION B10 (Section B10) to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches 
 
There may be rare occasions when prescriptive specifications may either be edited and included in Part 5 of the RFP or required in Section B10 to be edited by the Contractor’s Designer of Record.    In both cases, the Engineering Systems Requirements (ESR) must include references to these documents.
**********************************************************************************************************

SYSTEM DESCRIPTION 
Provide the building framing system in accordance with UFC 3-300-10N, Structural Engineering.

********************************************************************************************************** 
NOTE:    Provide information for special live loads, concentrated loads, and extraordinary events (e.g., terrorism threats, accidental blast).    Normally, special loads and extraordinary events are not required and the following paragraphs will be deleted.
**********************************************************************************************************

[In addition, design the structure in accordance with the following loading criteria:

[Live Loads

[Live loads for occupancies or uses not provided in UFC 3-310-01 shall be as follows:

Occupancy or Use: _______________________

Uniform Live load: ____________ psf.]

[Concentrated Live Load: ______________lbs.]

[Live loads that differ from the minimum live loads provided in UFC 3-310-01 shall be as follows:

Occupancy or Use: _______________________

Uniform Live load: ____________ psf.]

[Concentrated Live Load: _______________lbs.]

][Extraordinary Events

Design the structure to withstand the effects of the following extraordinary (i.e. low probability event: [______________________].

********************************************************************************************************** 
NOTE: Provide wind exposure and Importance Factor information if the contractor cannot be expected to be able to obtain this information from other sources.
**********************************************************************************************************

][Importance Factors

Use Occupancy Category [I] [II] [III] [IV] [V] in Table 1 of UFC 3-310-01 for determining Importance Factors for seismic, snow, and wind design.    The corresponding Seismic Use Group is [I] [II] [III] [IV].

][Wind Exposure

Wind design shall be based on Exposure [A] [B] [C] [D].]

B1010 FLOOR CONSTRUCTION

********************************************************************************************************** 
NOTE: Edit the following paragraph to include or exclude specific floor constructions as appropriate, or to permit any floor structural framing system.
**********************************************************************************************************

The floor construction [shall] [may] include [any structural framing system meeting the requirements of this section.] [a pre-engineered metal building system.] [non-composite concrete slabs on form deck on steel joists] [non-composite concrete slabs on form deck on steel beams] [non-composite concrete slabs on form deck on light-gage metal framing], [composite concrete slabs on composite steel deck], [cast-in-place concrete slabs on removable forms], [precast concrete slabs] [autoclaved aerated concrete], [or] [wood deck on wood framing] [wood deck on light-gage metal framing] [wood deck on engineered-wood framing].    The floor deck shall be supported on [cast-in place concrete walls], [pre-cast concrete walls], [concrete masonry walls], [brick masonry walls], [masonry piers], [steel columns[ and steel beams]], [steel columns and joist girders] [concrete columns[ and concrete beams]], [cold-formed steel stud walls], [wood stud walls], [wood columns[ and wood beams] [and steel beams].]

B1020 ROOF CONSTRUCTION

********************************************************************************************************** 
NOTE: Edit the following paragraph to include or exclude specific roof constructions as appropriate, or to permit any roof structural framing system.
**********************************************************************************************************

The roof construction [shall] [may] include [any structural framing system meeting the requirements of this section.] [a pre-engineered metal building system.] [steel roof deck on steel joists] [steel roof deck on steel beams] [steel roof deck on light-gage metal framing] [non-composite concrete slabs on form deck on steel joists] [non-composite concrete slabs on form deck on steel beams] [non-composite concrete slabs on form deck on light-gage metal framing], [composite concrete slabs on composite steel deck], [cast-in-place concrete slabs on removable forms], [precast concrete slabs], [or] [wood deck on wood framing] [wood deck on light-gage metal framing] [wood deck on engineered-wood framing].    The roof deck shall be supported on [cast-in place concrete walls], [pre-cast concrete walls], [concrete masonry walls], [brick masonry walls], [masonry piers], [steel columns and steel beams], [steel columns and joist girders] [concrete columns[ and concrete beams]], [cold-formed steel stud walls], [wood stud walls], [wood columns[ and wood beams] [and steel beams].]

--End of Section--