6. ENGINEERING SYSTEMS REQUIREMENTS

E10 EQUIPMENT

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
EQUIPMENT TEMPLATE 12/08
 
Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element E10-EQUIPMENT. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is un-checked.
 
The Architectural Member should edit this template for the requirements of the project. The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility or on a system wide basis that is common to several rooms. Room-specific requirements are defined in the ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Editing is required where brackets [ ] appear. Delete all building elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION E10 to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.
**********************************************************************************************************

********************************************************************************************************** 
NOTE:    Edit the following paragraphs to suit the project, or create your own, to describe the EQUIPMENT for the project.    Equipment that is typically included in a construction contract includes security and vault equipment such as vault doors and day gates, loading dock equipment such as dock levelers, and food service equipment.    Coordinate this section carefully with other portions of the RFP.
**********************************************************************************************************

GENERAL SYSTEMS REQUIREMENTS 

E1010 COMMERCIAL EQUIPMENT

[The contractor shall obtain the services of equipment specialists to specify [audiovisual] [shop] [fitness equipment] [or] [_______(other specialty equipment)].    Equipment specialists shall not have any affiliation with the product specified.]

[All specialty equipment will be installed by qualified installers regularly engaged in installing the specialty equipment.]

E101005 SECURITY AND VAULT EQUIPMENT

********************************************************************************************************** 
NOTE:    Consider the following paragraph for facilities that will include a vault or secure room.    This information could also be included in the Room Requirements.
**********************************************************************************************************

[The [Vault] [Weapons Storage Area (WSA)] or [Armory] [__other title__] space shall be designed in accordance with criteria in MIL-HDBK-1013/1A to provide at least 10 [____] minutes of delay time against [low] and [medium] [___] threat severity levels of forced entry.]

[Provide [a] vault door[s] where indicated in the "Room Requirements."

[Vault door shall be provided with a day gate.]]

E1020 INSTITUTIONAL EQUIPMENT

********************************************************************************************************** 
NOTE:    Consider the following paragraph for facilities that will include laboratory equipment.    Provide as detailed a list as can be obtained from the using activity.    This information could also be included in the Room Requirements.
**********************************************************************************************************

E102003 LABORATORY EQUIPMENT

[Provide the following laboratory equipment:_________]

********************************************************************************************************** 
NOTE:    Consider the following paragraph when the facility will include a loading dock
**********************************************************************************************************

E1030 VEHICULAR EQUIPMENT

[Provide warehouse equipment.] [Loading docks shall be provided with [dock bumpers], [truck-trailer restraining devices], [and] [dock levelers].

[Minimum performance characteristics for the dock leveler shall be based on the following:

a. Service Period:
(1) Number of shift operations of [1] [2] [3].
(2) Maximum number of trucks per shift opening of [_____].
(3) Maximum number of days per week of [_____].

b. Fork Lift Loads:
(1) Design levelers to accommodate [3] [4] wheel fork trucks.
(2) Design levelers to handle [_____] gross dynamic load.
(3) Base load leveler design on number of cycles per
loading/unloading operation per truck and of [_____].]

E1040 GOVERNMENT FURNISHED EQUIPMENT

********************************************************************************************************** 
NOTE:    Choose second bracketed option and edit appropriately when Government Furnished Contractor Installed equipment is part of RFP. Include building number and approximate distance from site in bracketed spaces. When equipment is furnished by the Government, include Shop Drawings and Product Data sheets with information defining equipment and requirements in Part 5 of the RFP documents. Choose first option for all other projects.
**********************************************************************************************************

[There is no Government Furnished equipment in this project.]

[Rough-in and provide connections for Government-furnished equipment such that equipment will operate as intended, including providing miscellaneous items such as plugs, receptacles, wire, cable, conduit, flexible conduit and outlet boxes or fittings. [Contractor shall pick up equipment at [        ] and transfer to site for storage until ready for installation.] [Equipment shall remain in control of the Government until such time as the Contractor is ready to install. Contractor shall provide 30 days advance notice of expected installation date and pick up equipment at [            ] and transfer to site for installation.] Testing requirements of Government Furnished equipment shall be the responsibility of the Contractor and shall follow the same guidelines as though the Contractor had provided the equipment. The following items will be furnished by the Government and shall be installed and tested by the Contractor: [          ], [          ], [          ]]

E1090 OTHER EQUIPMENT

E109002 FOOD SERVICE EQUIPMENT

********************************************************************************************************** 
NOTE:    Provide the following information as part of the Project Program if the Contractor's Designer of Record (DOR) is to design the kitchen:
**********************************************************************************************************

[Utilize the following information for planning the kitchen:

a) The kitchen will serve [_____] patrons.
b) Hours of service shall be from [____] to [____].
c) Type and style of meal service shall be [Cafeteria line] [scatter serve] [sit down with waiter service] [other.].
d) Menu will be [_____]
e) Type of cooking shall be [cook to order] [pre-prepared/cooked food (pre-made and wrapped sandwiches)] [other].
f) Availability of food: the number of deliveries per week is [__]. 
g) Amount/type of storage required: dry [___cu feet (cu meters)], refrigerated [___cu feet (cu meters)], frozen [___cu feet (cu meters)].
h) Local requirements of trash/garbage disposal areas follows, [dumpster] [local storage room] for cardboard [___cu feet (cu meters)], trash dumpster [___cu feet (cu meters)], with pickup every [___] days.]

********************************************************************************************************** 
NOTE:    Choose the first paragraph when specific food service equipment list will not be provided.    Choose the second paragraph when a detailed list of food service equipment is available.
**********************************************************************************************************

[Provide food service equipment as required for a commercial kitchen to serve [_______] persons with a menu to include [full breakfast, lunch and dinner] [lunch only] [_________].

[Provide the following food service equipment:____________]

--End of Section--