5.0 ROOM REQUIREMENTS

********************************************************************************************************** 
NOTE:  This is a hidden text note that will not print when the HIDDEN TEXT box on the Print tab under "Tools-Options" is unchecked. 
 
Use this template to generate a room requirements table for each type of room in the facility.  The ROOM REQUIREMENTS Section of the Project Program is intended to define detailed requirements on a room-by-room basis.  Specific room requirements are typically defined at UNIFORMAT II Level 4.  Items typically addressed are wall finishes; floor finishes; ceiling construction and finishes; exterior and/or interior doors; hardware; interior windows; special lighting, communication or electrical; moveable furnishings; appliances or equipment; fixed furnishings and casework.  If a building element for a room is already covered in the ENGINEERING SYSTEMS REQUIREMENTS section, it should not be repeated in the ROOM REQUIREMENTS. If the facility has multiples of the same type of room, a separate table does not need to be made for each - simply note the number of rooms covered by the table.
 
A typical description in the Space Characteristics box for a room will include:

    -  Function of the room — brief description of that room. If not covered in Building
       Requirements then identify adjacencies, controls (e.g. visual), and special
       accessibility and circulation requirements.

    -  Special dimensional requirements that will affect the size of the room (if not
       identified in space tabulation)

    -  Acoustical requirements

    -  Type and number of occupants (if not identified in space tabulation)

    -  Access (privacy and/or security)

    -  Operational hours of the space if different from main facility

    -  Others if needed

        -  Graphic to illustrate
        -  List of collateral equipment and computers
        -  Constraints

Only include the heading "5.  ROOM REQUIREMENTS" for the first page of the Room Requirements section - delete this heading for subsequent pages in the section.  Also enter Project title, location, and contract number information for page headers under the Header and Footer view.
**********************************************************************************************************