***************************************************************************

USACE / NAVFAC / AFCEC / NASA          UFGS-01 57 19 (November 2015)

Change 1 - 08/16

-----------------------------------

Preparing Activity:  NAVFAC            Superseding

UFGS-01 57 16 (April 2008)

UFGS-01 57 19.00 20 (November 2011)

UFGS-01 57 20.00 10 (April 2006)

UFGS-01 57 23 (April 2008)

UNIFIED FACILITIES GUIDE SPECIFICATIONS

References are in agreement with UMRL dated January 2018

***************************************************************************

SECTION 01 57 19

TEMPORARY ENVIRONMENTAL CONTROLS

11/15

***************************************************************************

NOTE:  This guide specification covers the requirements for environmental protection and other environmental temporary controls.

Use this specification for design and construction projects located CONUS and OCONUS. Edit this specification to the extent that is allowed and does not conflict with the applicable Status of Forces Agreements (SOFA), Host Nation-Funded Construction Agreements (HNFA), and in some instances, Bilateral Infrastructure Agreements (BIA), and country-specific Final Governing Standards (FGS) or the DoD Overseas Environmental Baseline Guidance Document (OEBGD), DoD 4715.05-G. The OEBGD applies when there are no FGS in place.

Only edit the parts of this specification section that have bracketed choices.

Many States and Municipalities have more stringent or additional requirements:

For Navy projects, use this section and Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS, which contains State and Local requirements.  Add any further local requirements into Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.  Use these sections for both Design-Bid-Build and Design-Build projects.

For Army projects.  Edit this section to include weblinks to the State or Local requirement.  Add the State and Local source to the Reference list and cite within the body of this section.  Clearly state in this section deviations from the State and Local requirements.

Adhere to UFC 1-300-02 Unified Facilities Guide Specifications (UFGS) Format Standard when editing this guide specification or preparing new project specification sections.  Edit this guide specification for project specific requirements by adding, deleting, or revising text.  For bracketed items, choose applicable item(s) or insert appropriate information.

Remove information and requirements not required in respective project, whether or not brackets are present.

TO DOWNLOAD UFGS GRAPHICS:

Go to http://www.wbdg.org/FFC/NAVGRAPH/graphtoc.pdf

Comments, suggestions and recommended changes for this guide specification are welcome and should be submitted as a Criteria Change Request (CCR).

***************************************************************************

# PART 1   GENERAL

## 1.1   REFERENCES

***************************************************************************

NOTE:  This paragraph is used to list the publications cited in the text of the guide specification.  The publications are referred to in the text by basic designation only and listed in this paragraph by organization, designation, date, and title.

Use the Reference Wizard's Check Reference feature when you add a Reference Identifier (RID) outside of the Section's Reference Article to automatically place the reference in the Reference Article.  Also use the Reference Wizard's Check Reference feature to update the issue dates.

References not used in the text will automatically be deleted from this section of the project specification when you choose to reconcile references in the publish print process.

***************************************************************************

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to within the text by the basic designation only.

U.S. ENVIRONMENTAL PROTECTION AGENCY (EPA)

EPA SW-846	(Third Edition; Update IV) Test Methods for Evaluating Solid Waste: Physical/Chemical Methods

U.S. NATIONAL ARCHIVES AND RECORDS ADMINISTRATION (NARA)

29 CFR 1910.120	Hazardous Waste Operations and Emergency Response

40 CFR 112	Oil Pollution Prevention

40 CFR 122.26	Storm Water Discharges (Applicable to State NPDES Programs, see section 123.25)

40 CFR 152	Pesticide Registration and Classification Procedures

40 CFR 152 - 186	Pesticide Programs

40 CFR 241	Guidelines for Disposal of Solid Waste

40 CFR 243	Guidelines for the Storage and Collection of Residential, Commercial, and Institutional Solid Waste

40 CFR 258	Subtitle D Landfill Requirements

40 CFR 260	Hazardous Waste Management System:  General

40 CFR 261	Identification and Listing of Hazardous Waste

40 CFR 261.7	Residues of Hazardous Waste in Empty Containers

40 CFR 262	Standards Applicable to Generators of Hazardous Waste

40 CFR 262.31	Standards Applicable to Generators of Hazardous Waste-Labeling

40 CFR 262.34	Standards Applicable to Generators of Hazardous Waste-Accumulation Time

40 CFR 263	Standards Applicable to Transporters of Hazardous Waste

40 CFR 264	Standards for Owners and Operators of Hazardous Waste Treatment, Storage, and Disposal Facilities

40 CFR 265	Interim Status Standards for Owners and Operators of Hazardous Waste Treatment, Storage, and Disposal Facilities

40 CFR 266	Standards for the Management of Specific Hazardous Wastes and Specific Types of Hazardous Waste Management Facilities

40 CFR 268	Land Disposal Restrictions

40 CFR 273	Standards For Universal Waste Management

40 CFR 273.2	Standards for Universal Waste Management - Batteries

40 CFR 273.3	Standards for Universal Waste Management - Pesticides

40 CFR 273.4	Standards for Universal Waste Management - Mercury Containing Equipment

40 CFR 273.5	Standards for Universal Waste Management - Lamps

40 CFR 279	Standards for the Management of Used Oil

40 CFR 300	National Oil and Hazardous Substances Pollution Contingency Plan

40 CFR 300.125	National Oil and Hazardous Substances Pollution Contingency Plan - Notification and Communications

40 CFR 355	Emergency Planning and Notification

40 CFR 403	General Pretreatment Regulations for Existing and New Sources of Pollution

40 CFR 50	National Primary and Secondary Ambient Air Quality Standards

40 CFR 60	Standards of Performance for New Stationary Sources

40 CFR 61	National Emission Standards for Hazardous Air Pollutants

40 CFR 63	National Emission Standards for Hazardous Air Pollutants for Source Categories

40 CFR 64	Compliance Assurance Monitoring

40 CFR 745	Lead-Based Paint Poisoning Prevention in Certain Residential Structures

40 CFR 761	Polychlorinated Biphenyls (PCBs) Manufacturing, Processing, Distribution in Commerce, and Use Prohibitions

49 CFR 171	General Information, Regulations, and Definitions

49 CFR 172	Hazardous Materials Table, Special Provisions, Hazardous Materials Communications, Emergency Response Information, and Training Requirements

49 CFR 172.101	Hazardous Material Regulation-Purpose and Use of Hazardous Material Table

49 CFR 173	Shippers - General Requirements for Shipments and Packagings

49 CFR 178	Specifications for Packagings

## 1.2   DEFINITIONS

***************************************************************************

NOTE:  Delete definitions not used within the section edited for a project.

***************************************************************************

### 1.2.1   Class I and II Ozone Depleting Substance (ODS)

Class I ODS is defined in Section 602(a) of The Clean Air Act.  A list of Class I ODS can be found on the EPA website at the following weblink. http://www.epa.gov/ozone/science/ods/classone.html.

Class II ODS is defined in Section 602(s) of The Clean Air Act.  A list of Class II ODS can be found on the EPA website at the following weblink. http://www.epa.gov/ozone/science/ods/classtwo.html.

### 1.2.2   Contractor Generated Hazardous Waste

Contractor generated hazardous waste is materials that, if abandoned or disposed of, may meet the definition of a hazardous waste.  These waste streams would typically consist of material brought on site by the Contractor to execute work, but are not fully consumed during the course of construction.  Examples include, but are not limited to, excess paint thinners (i.e. methyl ethyl ketone, toluene), waste thinners, excess paints, excess solvents, waste solvents, excess pesticides, and contaminated pesticide equipment rinse water.

### 1.2.3   Electronics Waste

Electronics waste is discarded electronic devices intended for salvage, recycling, or disposal.

### 1.2.4   Environmental Pollution and Damage

Environmental pollution and damage is the presence of chemical, physical, or biological elements or agents which adversely affect human health or welfare; unfavorably alter ecological balances of importance to human life; affect other species of importance to humankind; or degrade the environment aesthetically, culturally or historically.

### 1.2.5   Environmental Protection

Environmental protection is the prevention/control of pollution and habitat disruption that may occur to the environment during construction.  The control of environmental pollution and damage requires consideration of land, water, and air; biological and cultural resources; and includes management of visual aesthetics; noise; solid, chemical, gaseous, and liquid waste; radiant energy and radioactive material as well as other pollutants.

### 1.2.6   Hazardous Debris

As defined in paragraph SOLID WASTE, debris that contains listed hazardous waste (either on the debris surface, or in its interstices, such as pore structure) in accordance with 40 CFR 261.  Hazardous debris also includes debris that exhibits a characteristic of hazardous waste in accordance with 40 CFR 261.

### 1.2.7   Hazardous Materials

Hazardous materials as defined in 49 CFR 171 and listed in 49 CFR 172.

Hazardous material is any material that:  Is regulated as a hazardous material in accordance with 49 CFR 173; or requires a Safety Data Sheet (SDS) in accordance with 29 CFR 1910.120; or during end use, treatment, handling, packaging, storage, transportation, or disposal meets or has components that meet or have potential to meet the definition of a hazardous waste as defined by 40 CFR 261 Subparts A, B, C, or D.  Designation of a material by this definition, when separately regulated or controlled by other sections or directives, does not eliminate the need for adherence to that hazard-specific guidance which takes precedence over this section for "control" purposes.  Such material includes ammunition, weapons, explosive actuated devices, propellants, pyrotechnics, chemical and biological warfare materials, medical and pharmaceutical supplies, medical waste and infectious materials, bulk fuels, radioactive materials, and other materials such as asbestos, mercury, and polychlorinated biphenyls (PCBs).

### 1.2.8   Hazardous Waste

Hazardous Waste is any material that meets the definition of a solid waste and exhibit a hazardous characteristic (ignitability, corrosivity, reactivity, or toxicity) as specified in 40 CFR 261, Subpart C, or contains a listed hazardous waste as identified in 40 CFR 261, Subpart D.

### 1.2.9   Installation Pest Management Coordinator

***************************************************************************

NOTE: Use this paragraph for Army projects only.  Do not use for Navy or Air Force projects.  Paragraph is tailored for Army use.

***************************************************************************

Installation Pest Management Coordinator (IPMC) is the individual officially designated by the Installation Commander to oversee the Installation Pest Management Program and the Installation Pest Management Plan.

### 1.2.10   Land Application

Land Application means spreading or spraying discharge water at a rate that allows the water to percolate into the soil.  No sheeting action, soil erosion, discharge into storm sewers, discharge into defined drainage areas, or discharge into the "waters of the United States" must occur.  Comply with federal, state, and local laws and regulations.

### 1.2.11   Municipal Separate Storm Sewer System (MS4) Permit

MS4 permits are those held by installations to obtain NPDES permit coverage for their stormwater discharges.

### 1.2.12   National Pollutant Discharge Elimination System (NPDES)

The NPDES permit program controls water pollution by regulating point sources that discharge pollutants into waters of the United States.

### 1.2.13   Oily Waste

Oily waste are those materials that are, or were, mixed with Petroleum, Oils, and Lubricants (POLs) and have become separated from that POLs.  Oily wastes also means materials, including wastewaters, centrifuge solids, filter residues or sludges, bottom sediments, tank bottoms, and sorbents which have come into contact with and have been contaminated by, POLs and may be appropriately tested and discarded in a manner which is in compliance with other state and local requirements.

This definition includes materials such as oily rags, "kitty litter" sorbent clay and organic sorbent material.  These materials may be land filled provided that:  It is not prohibited in other state regulations or local ordinances; the amount generated is "de minimus" (a small amount); it is the result of minor leaks or spills resulting from normal process operations; and free-flowing oil has been removed to the practicable extent possible.  Large quantities of this material, generated as a result of a major spill or in lieu of proper maintenance of the processing equipment, are a solid waste.  As a solid waste, perform a hazardous waste determination prior to disposal.  As this can be an expensive process, it is recommended that this type of waste be minimized through good housekeeping practices and employee education.

### 1.2.14   Pesticide

***************************************************************************

NOTE:  This paragraph is tailored for Army use only.

***************************************************************************

Pesticide is any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest, or intended for use as a plant regulator, defoliant or desiccant.

### 1.2.15   Pesticide Treatment Plan

***************************************************************************

NOTE:  This paragraph is tailored for Army use only.

***************************************************************************

A plan for the prevention, monitoring, and control to eliminate pest infestation.

### 1.2.16   Pests

***************************************************************************

NOTE:  This paragraph is tailored for Army use only.

***************************************************************************

Pests are arthropods, birds, rodents, nematodes, fungi, bacteria, viruses, algae, snails, marine borers, snakes, weeds and other organisms (except for human or animal disease-causing organisms) that adversely affect readiness, military operations, or the well-being of personnel and animals; attack or damage real property, supplies, equipment, or vegetation; or are otherwise undesirable.

### 1.2.17   Project Pesticide Coordinator

***************************************************************************

NOTE:  This paragraph is tailored for Army use only.

***************************************************************************

The Project Pesticide Coordinator (PPC) is an individual who resides at a Civil Works Project office and who is responsible overseeing of pesticide application on project grounds.

### 1.2.18   Regulated Waste

Regulated waste are solid wastes that have specific additional federal, state, or local controls for handling, storage, or disposal.

### 1.2.19   Sediment

Sediment is soil and other debris that have eroded and have been transported by runoff water or wind.

### 1.2.20   Solid Waste

Solid waste is a solid, liquid, semi-solid or contained gaseous waste.  A solid waste can be a hazardous waste, non-hazardous waste, or non-Resource Conservation and Recovery Act (RCRA) regulated waste.  Types of solid waste typically generated at construction sites may include:

#### 1.2.20.1   Debris

***************************************************************************

NOTE:  State and local requirements regarding the acceptability of reinforcement in inert debris vary.  Check with the Solid Waste Authority at the state or local level and edit the second sentence accordingly.

***************************************************************************

Debris is non-hazardous solid material generated during the construction, demolition, or renovation of a structure that exceeds 60 mm (2.5-inch) particle size that is: a manufactured object; plant or animal matter; or natural geologic material (for example, cobbles and boulders), broken or removed concrete, masonry, and rock asphalt paving; ceramics; roofing paper and shingles.  Inert materials [may][may not] be reinforced with or contain ferrous wire, rods, accessories and weldments.  A mixture of debris and other material such as soil or sludge is also subject to regulation as debris if the mixture is comprised primarily of debris by volume, based on visual inspection.

#### 1.2.20.2   Green Waste

Green waste is the vegetative matter from landscaping, land clearing and grubbing, including, but not limited to, grass, bushes, scrubs, small trees and saplings, tree stumps and plant roots.  Marketable trees, grasses and plants that are indicated to remain, be re-located, or be re-used are not included.

#### 1.2.20.3   Material not regulated as solid waste

Material not regulated as solid waste is nuclear source or byproduct materials regulated under the Federal Atomic Energy Act of 1954 as amended; suspended or dissolved materials in domestic sewage effluent or irrigation return flows, or other regulated point source discharges; regulated air emissions; and fluids or wastes associated with natural gas or crude oil exploration or production.

#### 1.2.20.4   Non-Hazardous Waste

Non-hazardous waste is waste that is excluded from, or does not meet, hazardous waste criteria in accordance with 40 CFR 263.

#### 1.2.20.5   Recyclables

***************************************************************************

NOTE:  State and local requirements regarding the inclusion within recyclables of paint cans and lead contaminated or lead based paint contaminated metal or wiring sold to scrap metal companies vary.  Check with the Solid Waste Authority at the state or local level and edit accordingly.

***************************************************************************

Recyclables are materials, equipment and assemblies such as doors, windows, door and window frames, plumbing fixtures, glazing and mirrors that are recovered and sold as recyclable,[ wiring,][ insulated/non-insulated copper wire cable,][ wire rope,] and structural components.  It also includes commercial-grade refrigeration equipment with Freon removed, household appliances where the basic material content is metal, clean polyethylene terephthalate bottles, cooking oil, used fuel oil, textiles, high-grade paper products and corrugated cardboard, stackable pallets in good condition, clean crating material, and clean rubber/vehicle tires.  Metal meeting the definition of lead contaminated or lead based paint contaminated [may][may not] be included as recyclable if sold to a scrap metal company.  Paint cans that meet the definition of empty containers in accordance with 40 CFR 261.7 may be included as recyclable if sold to a scrap metal company.

#### 1.2.20.6   Surplus Soil

Surplus soil is existing soil that is in excess of what is required for this work, including aggregates intended, but not used, for on-site mixing of concrete, mortars, and paving.  Contaminated soil meeting the definition of hazardous material or hazardous waste is not included and must be managed in accordance with paragraph HAZARDOUS MATERIAL MANAGEMENT.

#### 1.2.20.7   Scrap Metal

This includes scrap and excess ferrous and non-ferrous metals such as reinforcing steel, structural shapes, pipe, and wire that are recovered or collected and disposed of as scrap.  Scrap metal meeting the definition of hazardous material or hazardous waste is not included.

#### 1.2.20.8   Wood

Wood is dimension and non-dimension lumber, plywood, chipboard, hardboard.  Treated or painted wood that meets the definition of lead contaminated or lead based contaminated paint is not included.  Treated wood includes, but is not limited to, lumber, utility poles, crossties, and other wood products with chemical treatment.

### 1.2.21   Surface Discharge

Surface discharge means discharge of water into drainage ditches, storm sewers, creeks or "waters of the United States".  Surface discharges are discrete, identifiable sources and require a permit from the governing agency.  Comply with federal, state, and local laws and regulations.

### 1.2.22   Wastewater

Wastewater is the used water and solids from a community that flow to a treatment plant.

#### 1.2.22.1   Stormwater

Stormwater is any precipitation in an urban or suburban area that does not evaporate or soak into the ground, but instead collects and flows into storm drains, rivers, and streams.

### 1.2.23   Waters of the United States

Waters of the United States means Federally jurisdictional waters, including wetlands, that are subject to regulation under Section 404 of the Clean Water Act or navigable waters, as defined under the Rivers and Harbors Act.

### 1.2.24   Wetlands

Wetlands are those areas that are inundated or saturated by surface or groundwater at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions.

### 1.2.25   Universal Waste

***************************************************************************

Note:  States' universal waste regulations may differ from the federal requirements below. Verify all constituents listed below are categorized as universal waste by the State where the project is located and edit accordingly. For Navy projects, refer to Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS for additional requirements.

***************************************************************************

The universal waste regulations streamline collection requirements for certain hazardous wastes in the following categories: batteries, pesticides, mercury-containing equipment (for example, thermostats), and lamps (for example, fluorescent bulbs).  The rule is designed to reduce hazardous waste in the municipal solid waste (MSW) stream by making it easier for universal waste handlers to collect these items and send them for recycling or proper disposal.  These regulations can be found at 40 CFR 273.

## 1.3   SUBMITTALS

***************************************************************************

NOTE:  Review Submittal Description (SD) definitions in Section 01 33 00 SUBMITTAL PROCEDURES and edit the following list to reflect only the submittals required for the project.

The Guide Specification technical editors have designated those items that require Government approval, due to their complexity or criticality, with a "G."  Generally, other submittal items can be reviewed by the Contractor's Quality Control System.  Only add a "G" to an item, if the submittal is sufficiently important or complex in context of the project.

For submittals requiring Government approval on Army projects, a code of up to three characters within the submittal tags may be used following the "G" designation to indicate the approving authority.  Codes for Army projects using the Resident Management System (RMS) are:  "AE" for Architect-Engineer; "DO" for District Office (Engineering Division or other organization in the District Office); "AO" for Area Office; "RO" for Resident Office; and "PO" for Project Office.  Codes following the "G" typically are not used for Navy, Air Force, and NASA projects.

Use the "S" classification only in SD-11 Closeout Submittals.  The "S" following a submittal item indicates that the submittal is required for the Sustainability eNotebook to fulfill federally mandated sustainable requirements in accordance with Section 01 33 29 SUSTAINABILITY REPORTING.

Choose the first bracketed item for Navy, Air Force and NASA projects, or choose the second bracketed item for Army projects.

***************************************************************************

Government approval is required for submittals with a "G" designation; submittals not having a "G" designation are [for Contractor Quality Control approval.][for information only.  When used, a designation following the "G" designation identifies the office that will review the submittal for the Government.]  Submittals with an "S" are for inclusion in the Sustainability eNotebook, in conformance with Section 01 33 29 SUSTAINABILITY REPORTING.  Submit the following in accordance with Section 01 33 00 SUBMITTAL PROCEDURES:

SD-01 Preconstruction Submittals

Preconstruction Survey

Solid Waste Management Permit; G[, [_____]]

Regulatory Notifications; G[, [_____]]

Environmental Protection Plan; G[, [_____]]

Stormwater Notice of Intent (for NPDES coverage under the general permit for construction activities); G[, [_____]]

Dirt and Dust Control Plan; G[, [_____]]

Employee Training Records; G[, [_____]]

Environmental Manager Qualifications; G[, [_____]]

SD-06 Test Reports

Laboratory Analysis

Inspection Reports

Solid Waste Management Report; G[, [_____]]

SD-07 Certificates

Employee Training Records; G[, [_____]]

ECATTS Certificate Of Completion; G[, [_____]]

Certificate of Competency

Erosion and Sediment Control Inspector Qualifications

SD-11 Closeout Submittals

Stormwater Pollution Prevention Plan Compliance Notebook; G[, [_____]]

Stormwater Notice of Termination (for NPDES coverage under the general permit for construction activities); G[, [_____]]

Waste Determination Documentation; G[, [_____]]

Disposal Documentation for Hazardous and Regulated Waste; G[, [_____]]

Assembled Employee Training Records; G[, [_____]]

Solid Waste Management Permit; G[, [_____]]

Solid Waste Management Report; G[, [_____]]

Contractor Hazardous Material Inventory Log; G[, [_____]]

Hazardous Waste/Debris Management; G[, [_____]]

Regulatory Notifications; G[, [_____]]

Sales Documentation; G[, [_____]]

Contractor Certification

As-Built Topographic Survey

## 1.4   ENVIRONMENTAL PROTECTION REQUIREMENTS

Provide and maintain, during the life of the contract, environmental protection as defined.  Plan for and provide environmental protective measures to control pollution that develops during construction practice.  Plan for and provide environmental protective measures required to correct conditions that develop during the construction of permanent or temporary environmental features associated with the project.  Protect the environmental resources within the project boundaries and those affected outside the limits of permanent work during the entire duration of this Contract.  Comply with federal, state, and local regulations pertaining to the environment, including water, air, solid waste, hazardous waste and substances, oily substances, and noise pollution.

Tests and procedures assessing whether construction operations comply with Applicable Environmental Laws may be required.  Analytical work must be performed by qualified laboratories; and where required by law, the laboratories must be certified.

### 1.4.1   Training in Environmental Compliance Assessment Training and Tracking System (ECATTS)

***************************************************************************

NOTE:  Use this paragraph and subparagraphs for Navy projects only.  Delete for other projects.  Paragraph is tailored for Navy use.

Coordinate with the Installation Environmental Office to add additional staff that require training.  Coordinate with paragraph ENVIRONMENTAL MANAGER.

***************************************************************************

#### 1.4.1.1   Personnel Requirements

The Environmental Manager is responsible for environmental compliance on projects.  The Environmental Manager[ and other staff], must complete applicable ECATTS training modules (installation specific or general) prior to starting respective portions of on-site work under this Contract.  If personnel changes occur for any of these positions after starting work, replacement personnel must complete applicable ECATTS training within 14 days of assignment to the project.

#### 1.4.1.2   Certification

Submit an ECATTS certificate of completion for personnel who have completed the required ECATTS training.  This training is web-based and can be accessed from any computer with Internet access using the following instructions.

Register for NAVFAC Environmental Compliance Training and Tracking System, by logging on to https://environmentaltraining.ecatts.com/.  Obtain the password for registration from the Contracting Officer.

#### 1.4.1.3   Refresher Training

This training has been structured to allow contractor personnel to receive credit under this contract and to carry forward credit to future contracts.  Ensure the Environmental Manager review their training plans for new modules or updated training requirements prior to beginning work.  Some training modules are tailored for specific state regulatory requirements; therefore, Contractors working in multiple states will be required to retake modules tailored to the state where the contract work is being performed.

### 1.4.2   Conformance with the Environmental Management System

Perform work under this contract consistent with the policy and objectives identified in the installation's Environmental Management System (EMS).  Perform work in a manner that conforms to objectives and targets of the environmental programs and operational controls identified by the EMS.  Support Government personnel when environmental compliance and EMS audits are conducted by escorting auditors at the Project site, answering questions, and providing proof of records being maintained.  Provide monitoring and measurement information as necessary to address environmental performance relative to environmental, energy, and transportation management goals.  In the event an EMS nonconformance or environmental noncompliance associated with the contracted services, tasks, or actions occurs, take corrective and preventative actions.  In addition, employees must be aware of their roles and responsibilities under the installation EMS and of how these EMS roles and responsibilities affect work performed under the contract.

Coordinate with the installation's EMS coordinator to identify training needs associated with environmental aspects and the EMS, and arrange training or take other action to meet these needs.  Provide training documentation to the Contracting Officer.  The Installation Environmental Office will retain associated environmental compliance records.  Make EMS Awareness training completion certificates available to Government auditors during EMS audits and include the certificates in the Employee Training Records.  See paragraph EMPLOYEE TRAINING RECORDS.

## 1.5   SPECIAL ENVIRONMENTAL REQUIREMENTS

***************************************************************************

NOTE:  The special environmental requirements with which the Contractor must comply must be developed during the design process, included in the bidding documents, and made a part of the contract.  The special environmental requirements must be developed by the Designer from such documents as the National Environmental Policy Act (NEPA) compliance measures specified in the Categorical Exclusion documentation, Environmental Assessment (EA), or the Environmental Impact Statement (EIS), the Installation Master Plan, or the Installation Storm Water Management Plan.  For Civil Works projects, the Environmental commitments made during planning are usually tracked by Project Management.  Coordination with the Project Manager is essential in developing the special requirements.

List attachments referenced below in paragraph LICENSES AND PERMITS, which require Contractor's actions, in the blank provided and attach to the end of this Section.  Remove this paragraph if not required in the project after coordination with paragraph LICENSES AND PERMITS.

***************************************************************************

Comply with the special environmental requirements listed here [_____] and attached at the end of this section.

## 1.6   QUALITY ASSURANCE

### 1.6.1   Preconstruction Survey and Protection of Features

***************************************************************************

NOTE:  Use this paragraph as applicable.  For example, it may not be necessary for an interior renovation project.

***************************************************************************

This paragraph supplements the Contract Clause PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS.  Prior to start of any onsite construction activities, perform a Preconstruction Survey of the project site with the Contracting Officer, and take photographs showing existing environmental conditions in and adjacent to the site.  Submit a report for the record.  Include in the report a plan describing the features requiring protection under the provisions of the Contract Clauses, which are not specifically identified on the drawings as environmental features requiring protection along with the condition of trees, shrubs and grassed areas immediately adjacent to the site of work and adjacent to the Contractor's assigned storage area and access route(s), as applicable.  The Contractor and the Contracting Officer will sign this survey report upon mutual agreement regarding its accuracy and completeness.  Protect those environmental features included in the survey report and any indicated on the drawings, regardless of interference that their preservation may cause to the work under the Contract.

### 1.6.2   Regulatory Notifications

***************************************************************************

NOTE:  Coordinate with the Installation Environmental Office to fill in the number of days that notification is required prior to work starting.

***************************************************************************

Provide regulatory notification requirements in accordance with federal, state and local regulations.  In cases where the Government will also provide public notification (such as stormwater permitting), coordinate with the Contracting Officer.  Submit copies of regulatory notifications to the Contracting Officer at least [_____] days prior to commencement of work activities.  Typically, regulatory notifications must be provided for the following (this listing is not all-inclusive): demolition, renovation, NPDES defined site work, construction, removal or use of a permitted air emissions source, and remediation of controlled substances (asbestos, hazardous waste, lead paint).

### 1.6.3   Environmental Brief

***************************************************************************

NOTE:  Coordinate incorporation of this requirement with the Installation Environmental Office.

***************************************************************************

Attend an environmental brief to be included in the preconstruction meeting.  Provide the following information: types, quantities, and use of hazardous materials that will be brought onto the installation; and types and quantities of wastes/wastewater that may be generated during the Contract. Discuss the results of the Preconstruction Survey at this time.

Prior to initiating any work on site, meet with the Contracting Officer and installation Environmental Office to discuss the proposed Environmental Protection Plan (EPP).  Develop a mutual understanding relative to the details of environmental protection, including measures for protecting natural and cultural resources, required reports, required permits, permit requirements (such as mitigation measures), and other measures to be taken.

### [1.6.4   Environmental Manager

***************************************************************************

NOTE:  Coordinate incorporation of this requirement with the Installation Environmental Office.  Consider project environmental risks versus project size or dollar value. A small project, such as demolishing a plating shop could be low cost, but high risk and a large project, such as replacing a roof on a hangar, could be high cost, but low risk.

***************************************************************************

Appoint in writing an Environmental Manager for the project site.  The Environmental Manager is directly responsible for coordinating contractor compliance with federal, state, local, and installation requirements.  The Environmental Manager must ensure compliance with Hazardous Waste Program requirements (including hazardous waste handling, storage, manifesting, and disposal); implement the EPP; ensure environmental permits are obtained, maintained, and closed out; ensure compliance with Stormwater Program requirements; ensure compliance with Hazardous Materials (storage, handling, and reporting) requirements; and coordinate any remediation of regulated substances (lead, asbestos, PCB transformers).  This can be a collateral position; however, the person in this position must be trained to adequately accomplish the following duties: ensure waste segregation and storage compatibility requirements are met; inspect and manage Satellite Accumulation areas; ensure only authorized personnel add wastes to containers; ensure Contractor personnel are trained in 40 CFR requirements in accordance with their position requirements; coordinate removal of waste containers; and maintain the Environmental Records binder and required documentation, including environmental permits compliance and close-out.  Submit Environmental Manager Qualifications to the Contracting Officer.

### ]1.6.5   Employee Training Records

***************************************************************************

NOTE:  Insert the bracketed text for projects on a Large Quantity Generator Facility.  See paragraph FACILITY HAZARDOUS WASTE GENERATOR STATUS for determination of generator status.

Erosion and Sediment Control Inspector Qualifications are determined by the state; not all states require the inspector be certified by the state.

***************************************************************************

Prepare and maintain Employee Training Records throughout the term of the contract meeting applicable 40 CFR requirements.  Provide Employee Training Records in the Environmental Records Binder.[  Ensure every employee completes a program of classroom instruction or on-the-job training that teaches them to perform their duties in a way that ensures compliance with federal, state and local regulatory requirements for RCRA Large Quantity Generator.  Provide a Position Description for each employee, by subcontractor, based on the Davis-Bacon Wage Rate designation or other equivalent method, evaluating the employee's association with hazardous and regulated wastes.  This Position Description will include training requirements as defined in 40 CFR 265 for a Large Quantity Generator facility.]  Submit these Assembled Employee Training Records to the Contracting Officer at the conclusion of the project, unless otherwise directed.

Train personnel to meet [EPA][state] requirements.  Conduct environmental protection/pollution control meetings for personnel prior to commencing construction activities.  Contact additional meetings for new personnel and when site conditions change.  Include in the training and meeting agenda: methods of detecting and avoiding pollution; familiarization with statutory and contractual pollution standards; installation and care of devices, vegetative covers, and instruments required for monitoring purposes to ensure adequate and continuous environmental protection/pollution control; anticipated hazardous or toxic chemicals or wastes, and other regulated contaminants; recognition and protection of archaeological sites, artifacts, waters of the United States, and endangered species and their habitat that are known to be in the area.[  Provide copy of the Erosion and Sediment Control Inspector[ Qualifications as defined by EPA][ Certification as required by[ state]].]

#### [1.6.5.1   Pest Control Training

***************************************************************************

NOTE:  Use this paragraph for Army projects only.  Delete for other projects.  This paragraph is tailored for Army use only.

***************************************************************************

Trained personnel in pest control.  Conduct a pest control meeting for personnel prior to commencing construction activities.  Conduct additional meetings for new personnel and when site conditions change.  Include in the training and meeting agenda:  methods of detecting and pest infestation; familiarization with statutory and contractual pest control standards; installation and care of devices, and instruments, if required, for monitoring purposes to ensure adequate and continuous pest control; anticipated hazardous or toxic chemicals or wastes, and other regulated contaminants; recognition and protection of waters of the United States, and endangered species and their habitat that are known to be in the area. Provide a Certificate of Competency for the personnel who will be conducting the pesticide application and management of pest control.

### ]1.6.6   Non-Compliance Notifications

The Contracting Officer will notify the Contractor in writing of any observed noncompliance with federal, state or local environmental laws or regulations, permits, and other elements of the Contractor's EPP.  After receipt of such notice, inform the Contracting Officer of the proposed corrective action and take such action when approved by the Contracting Officer.  The Contracting Officer may issue an order stopping all or part of the work until satisfactory corrective action has been taken.  No time extensions will be granted or equitable adjustments allowed for any such suspensions.  This is in addition to any other actions the Contracting Officer may take under the contract, or in accordance with the Federal Acquisition Regulation or Federal Law.

## 1.7   ENVIRONMENTAL PROTECTION PLAN

***************************************************************************

NOTE:  Edit this paragraph to include any environmental concerns or plans that may be required for the construction Contractor to protect the environment during construction of the project.  Coordinate the requirements with the Installation Environmental Office in addition to the Federal, State, Regional, and Local agencies.

Some permits required under the Environmental Protection Plan require up to 90 days advance regulator notice before site work may begin.

***************************************************************************

The purpose of the EPP is to present an overview of known or potential environmental issues that must be considered and addressed during construction.  Incorporate construction related objectives and targets from the installation's EMS into the EPP.  Include in the EPP measures for protecting natural and cultural resources, required reports, and other measures to be taken.  Meet with the Contracting Officer or Contracting Officer Representative to discuss the EPP and develop a mutual understanding relative to the details for environmental protection including measures for protecting natural resources, required reports, and other measures to be taken.  Submit the EPP within [15][_____] days after [Contract award][notice to proceed] and not less than [_____][10] days before the[ preconstruction] meeting.  Revise the EPP throughout the project to include any reporting requirements, changes in site conditions, or contract modifications that change the project scope of work in a way that could have an environmental impact.  No requirement in this section will relieve the Contractor of any applicable federal, state, and local environmental protection laws and regulations.  During Construction, identify, implement, and submit for approval any additional requirements to be included in the EPP.  Maintain the current version onsite.

The EPP includes, but is not limited to, the following elements:

### 1.7.1   General Overview and Purpose

#### 1.7.1.1   Descriptions

***************************************************************************

NOTE:  Edit paragraph below to include those plans required for the project.  The bracketed list of plans is for example only and not meant to be all inclusive.

Use bracketed option for Pesticide Treatment Plan for Army projects only; this option is tailored for Army use.

***************************************************************************

A brief description of each specific plan required by environmental permit or elsewhere in this Contract such as[ stormwater pollution prevention  plan,][ spill control plan,][ solid waste management plan,][ wastewater management plan,][ air pollution control plan,][ contaminant prevention plan,][ pesticide treatment plan,][ a historical, archaeological, cultural resources, biological resources and wetlands plan,][ traffic control plan][ Hazardous, Toxic and Radioactive Waste (HTRW) Plan][ Non-Hazardous Solid Waste Disposal Plan][ borrowing material plan][_____].

#### 1.7.1.2   Duties

The duties and level of authority assigned to the person(s) on the job site who oversee environmental compliance, such as who is responsible for adherence to the EPP, who is responsible for spill cleanup and training personnel on spill response procedures, who is responsible for manifesting hazardous waste to be removed from the site (if applicable), and who is responsible for training the Contractor's environmental protection personnel.

#### 1.7.1.3   Procedures

A copy of any standard or project-specific operating procedures that will be used to effectively manage and protect the environment on the project site.

#### 1.7.1.4   Communications

Communication and training procedures that will be used to convey environmental management requirements to Contractor employees and subcontractors.

#### 1.7.1.5   Contact Information

Emergency contact information contact information (office phone number, cell phone number, and e-mail address).

### 1.7.2   General Site Information

#### 1.7.2.1   Drawings

Drawings showing locations of proposed temporary excavations or embankments for haul roads, stream crossings, jurisdictional wetlands, material storage areas, structures, sanitary facilities, storm drains and conveyances, and stockpiles of excess soil.

#### 1.7.2.2   Work Area

Work area plan showing the proposed activity in each portion of the area and identify the areas of limited use or nonuse.  Include measures for marking the limits of use areas, including methods for protection of features to be preserved within authorized work areas and methods to control runoff and to contain materials on site, and a traffic control plan.

#### 1.7.2.3   Documentation

A letter signed by an officer of the firm appointing the Environmental Manager and stating that person is responsible for managing and implementing the Environmental Program as described in this contract.  Include in this letter the Environmental Manager's authority to direct the removal and replacement of non-conforming work.

### 1.7.3   Management of Natural Resources

a.  Land resources

b.  Tree protection

c.  Replacement of damaged landscape features

d.  Temporary construction

e.  Stream crossings

f.  Fish and wildlife resources

g.  Wetland areas

### 1.7.4   Protection of Historical and Archaeological Resources

a.  Objectives

b.  Methods

### 1.7.5   Stormwater Management and Control

a.  Ground cover

b.  Erodible soils

c.  Temporary measures

(1) Structural Practices

(2) Temporary and permanent stabilization

d.  Effective selection, implementation and maintenance of Best Management Practices (BMPs).

### 1.7.6   Protection of the Environment from Waste Derived from Contractor Operations

Control and disposal of solid and sanitary waste.  Control and disposal of hazardous waste.

This item consist of the management procedures for hazardous waste to be generated.  The elements of those procedures will coincide with the Installation Hazardous Waste Management Plan.  The Contracting Officer will provide a copy of the Installation Hazardous Waste Management Plan.  As a minimum, include the following:

a.  List of the types of hazardous wastes expected to be generated

b.  Procedures to ensure a written waste determination is made for appropriate wastes that are to be generated

c.  Sampling/analysis plan, including laboratory method(s) that will be used for waste determinations and copies of relevant laboratory certifications

d.  Methods and proposed locations for hazardous waste accumulation/storage (that is, in tanks or containers)

e.  Management procedures for storage, labeling, transportation, and disposal of waste (treatment of waste is not allowed unless specifically noted)

f.  Management procedures and regulatory documentation ensuring disposal of hazardous waste complies with Land Disposal Restrictions (40 CFR 268)

g.  Management procedures for recyclable hazardous materials such as lead-acid batteries, used oil, and similar

h.  Used oil management procedures in accordance with 40 CFR 279; Hazardous waste minimization procedures

i.  Plans for the disposal of hazardous waste by permitted facilities; and Procedures to be employed to ensure required employee training records are maintained.

### 1.7.7   Prevention of Releases to the Environment

Procedures to prevent releases to the environment

Notifications in the event of a release to the environment

### 1.7.8   Regulatory Notification and Permits

List what notifications and permit applications must be made.  Some permits require up to 180 days to obtain.  Demonstrate that those permits have been obtained or applied for by including copies of applicable environmental permits.  The EPP will not be approved until the permits have been obtained.

### 1.7.9   Clean Air Act Compliance

#### 1.7.9.1   Haul Route

Submit truck and material haul routes along with a Dirt and Dust Control Plan for controlling dirt, debris, and dust on Installation roadways.  As a minimum, identify in the plan the subcontractor and equipment for cleaning along the haul route and measures to reduce dirt, dust, and debris from roadways.

#### 1.7.9.2   Pollution Generating Equipment

Identify air pollution generating equipment or processes that may require federal, state, or local permits under the Clean Air Act.  Determine requirements based on any current installation permits and the impacts of the project. Provide a list of all fixed or mobile equipment, machinery or operations that could generate air emissions during the project to the Installation Environmental Office (Air Program Manager).

#### 1.7.9.3   Stationary Internal Combustion Engines

Identify portable and stationary internal combustion engines that will be supplied, used or serviced.  Comply with 40 CFR 60 Subpart IIII, 40 CFR 60 Subpart JJJJ, 40 CFR 63 Subpart ZZZZ, and local regulations as applicable.  At minimum, include the make, model, serial number, manufacture date, size (engine brake horsepower), and EPA emission certification status of each engine.  Maintain applicable records and log hours of operation and fuel use.  Logs must include reasons for operation and delineate between emergency and non-emergency operation.

#### 1.7.9.4   Refrigerants

Identify management practices to ensure that heating, ventilation, and air conditioning (HVAC) work involving refrigerants complies with 40 CFR 82 requirements.  Technicians must be certified, maintain copies of certification on site, use certified equipment and log work that requires the addition or removal of refrigerant. Any refrigerant reclaimed is the property of the Government, coordinate with the Installation Environmental Office to determine the appropriate turn in location.

#### 1.7.9.5   Air Pollution-engineering Processes

Identify planned air pollution-generating processes and management control measures (including, but not limited to, spray painting, abrasive blasting, demolition, material handling, fugitive dust, and fugitive emissions).  Log hours of operations and track quantities of materials used.

#### 1.7.9.6   Monitoring

***************************************************************************

NOTE:  Use this tailored paragraph for Army projects only.  This paragraph pertains to Hazardous, Toxic and Radioactive Waste (HTRW) construction when the Designer has determined that the need to protect Air Quality during HTRW remedial action is necessary and appropriate.  The paragraph applies to contaminant emissions to the air from HTRW remedial action construction area sources.  Edit Section 01 35 45.00 10 CHEMICAL DATA QUALITY CONTROL so that the Chemistry Data Package, FSP and QAPP meet air monitoring reporting and instrument/sample collection and analysis needs.

An air pathway analysis needs to be conducted prior to specifying the items below.  The Designer is referred to EP 1110-1-21 Air Pathway Analysis (APA) for the Design of HTRW Remedial Action Project.  Design perimeter air monitoring requirements (action levels for the contaminants of concern, monitoring/sampling frequency) based on APA results.  Specify monitoring/sampling and analytical requirements in Section 01 35 45.00 10 CHEMICAL DATA QUALITY CONTROL.  Specify airborne contaminants of concern, action levels, monitoring/sampling locations below.  See 40 CFR 300.430(e)(9) of the National Contingency Plan.

***************************************************************************

For the protection of public health, monitor and control contaminant emissions to the air from Hazardous, Toxic, and Radioactive Waste remedial action area sources to minimize short-term risks that might be posed to the community during implementation of the remedial alternative in accordance with the following.

a.  Perimeter Air Contaminant of Concern [_____].

b.  Time Averaged Perimeter Action Levels [_____].

| Concentration | [_____] |
| --- | --- |
| Time | [_____] |

c.  Perimeter Sampling/Monitoring Location[s] [_____].

***************************************************************************

NOTE:  Section 01 35 45.00 10 CHEMICAL DATA QUALITY CONTROL should be edited to reflect appropriate instruments, sampling and analytical methods which meet required action levels.

***************************************************************************

d.  Monitoring Instruments/Sampling and Analysis Methods [_____].

***************************************************************************

NOTE:  See staffing requirements in Section 01 35 45.00 10 CHEMICAL DATA QUALITY CONTROL and assure that it is edited so that qualified personnel are used to operate instruments, take samples, and perform analysis.

***************************************************************************

e.  Staffing [_____].

#### 1.7.9.7   Compliant Materials

Provide the Government a list of and SDSs for all hazardous materials proposed for use on site.  Materials must be compliant with all Clean Air Act regulations for emissions including solvent and volatile organic compound contents, and applicable National Emission Standards for Hazardous Air Pollutants requirements.  The Government may alter or limit use of specific materials as needed to meet installation permit requirements for emissions.

## 1.8   LICENSES AND PERMITS

***************************************************************************

NOTE:  The terms and conditions contained in any permits obtained by the Government must be made a part of the contract.  The design must be in accordance with these permits.  The title and requirements of this paragraph may be changed to include environmental reviews and approvals, if pertinent.  Coordinate this paragraph with paragraph SPECIAL ENVIRONMENTAL REQUIREMENTS.

For Design-Bid-Build (DBB) projects, establish a list of permits, prepare the permits for review and signature and obtain approval of all permits prior to bid. In rare occasions it may be permissible to note the anticipated permit approval date in the contract.  If this is the case, the contract documents need to clearly define which portion of the work is not to be disturbed by the Contractor and for what time period.

For Design-Build (DB) projects (Request for Proposals) edit the paragraphs below for permits to be obtained.

***************************************************************************

***************************************************************************

NOTE:  For Navy DB and DBB projects:  Complete the Permit Record of Decision (PROD) in consultation with the cognizant Navy civil and environmental engineers and in accordance with FC 1-300-09N, NAVY AND MARINE CORPS DESIGN PROCEDURES.  Edit the paragraph below to coordinate with the identified requirements.  Refer to Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS for guidance on locally required permits and licenses.

***************************************************************************

Obtain licenses and permits required for the construction of the project and in accordance with FAR 52.236-7 Permits and Responsibilities.  Notify the Government of all general use permitted equipment the Contractor plans to use on site.  This paragraph supplements the Contractor's responsibility under FAR 52.236-7 Permits and Responsibilities.

***************************************************************************

NOTE:  Edit the applicable bracketed paragraphs below as required for the particular project.

Use this paragraph for permits obtained by the Government.  Identify which permits have been obtained by the Government.

***************************************************************************

[a.  The following permits have been obtained by the Government:

[(1) [_____]

][(2) [_____]

][(3) [_____]

]]

***************************************************************************

NOTE:  Identify which permits will be obtained by the Government.

***************************************************************************

[b.  The following permits will be obtained by the Government:

[(1) [_____]

][(2) [_____]

][(3) [_____]

## ]]1.9   ENVIRONMENTAL RECORDS BINDER

Maintain on-site a separate three-ring Environmental Records Binder and submit at the completion of the project.  Make separate parts within the binder that correspond to each submittal listed under paragraph CLOSEOUT SUBMITTALS in this section.

## [1.10   PESTICIDE DELIVERY, STORAGE, AND HANDLING

***************************************************************************

NOTE:  Use this paragraph and subsequent subparagraphs for Army projects only.  Do not use for Navy, Air Force, or NASA.  Paragraph is tailored for Army use.

***************************************************************************

### 1.10.1   Delivery and Storage

Deliver pesticides to the site in the original, unopened containers bearing legible labels indicating the EPA registration number and the manufacturer's registered uses.  Store pesticides according to manufacturer's instructions and under lock and key when unattended.

### 1.10.2   Handling Requirements

Formulate, treat with, and dispose of pesticides and associated containers in accordance with label directions and use the clothing and personal protective equipment specified on the labeling for use during each phases of the application.  Furnish SDSs for pesticide products.

## ]1.11   SOLID WASTE MANAGEMENT PERMIT

Provide the Contracting Officer with written notification of the quantity of anticipated solid waste or debris that is anticipated or estimated to be generated by construction.  Include in the report the locations where various types of waste will be disposed or recycled.  Include letters of acceptance from the receiving location or as applicable; submit one copy of the receiving location state and local Solid Waste Management Permit or license showing such agency's approval of the disposal plan before transporting wastes off Government property.

### 1.11.1   Solid Waste Management Report

Monthly, submit a solid waste disposal report to the Contracting Officer.  For each waste, the report will state the classification (using the definitions provided in this section), amount, location, and name of the business receiving the solid waste.

## 1.12   FACILITY HAZARDOUS WASTE GENERATOR STATUS

***************************************************************************

NOTE:  Insert the name of the installation in the blank space.  Contact the installation Environmental Office prior to start of design to determine the generator status of the activity, and edit to select the appropriate status.

For Navy projects only, this information should be found in Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.

***************************************************************************

[_____] is designated as a[ Large Quantity Generator][ Small Quantity Generator][ Conditionally Exempt-Small Quantity Generator].  Meet the regulatory requirements of this generator designation for any work conducted within the boundaries of this Installation.  Comply with provisions of federal, state, and local regulatory requirements applicable to this generator status regarding training and storage, handling, and disposal of construction derived wastes.

# PART 2   PRODUCTS

Not Used

# PART 3   EXECUTION

## 3.1   PROTECTION OF NATURAL RESOURCES

***************************************************************************

NOTE:  Specify any special protection requirements and specifically describe how the Contractor is to protect the resources.  This paragraph should be used when the Government knows of resources which should be protected and there are no requirements under Federal, State or local laws or regulations which would ensure that the Contractor would provide protection.  If there are known Endangered or Threatened Species onsite or in the area including their habitat, this paragraph must identify the species and their habitat and must include any requirements or methods for protection.

***************************************************************************

Minimize interference with, disturbance to, and damage to fish, wildlife, and plants, including their habitats.  Prior to the commencement of activities, consult with the Installation Environmental Office, regarding rare species or sensitive habitats that need to be protected.  The protection of rare, threatened, and endangered animal and plant species identified, including their habitats, is the Contractor's responsibility.[  The following species are known and could be affected within the construction area: [_____].]

Preserve the natural resources within the project boundaries and outside the limits of permanent work.  Restore to an equivalent or improved condition upon completion of work that is consistent with the requirements of the Installation Environmental Office or as otherwise specified.  Confine construction activities to within the limits of the work indicated or specified.

### 3.1.1   Flow Ways

Do not alter water flows or otherwise significantly disturb the native habitat adjacent to the project and critical to the survival of fish and wildlife, except as specified and permitted.

### 3.1.2   Vegetation

Except in areas to be cleared, do not remove, cut, deface, injure, or destroy trees or shrubs without the Contracting Officer's permission.  Do not fasten or attach ropes, cables, or guys to existing nearby trees for anchorages unless authorized by the Contracting Officer.  Where such use of attached ropes, cables, or guys is authorized, the Contractor is responsible for any resultant damage.

Protect existing trees that are to remain to ensure they are not injured, bruised, defaced, or otherwise damaged by construction operations.  Remove displaced rocks from uncleared areas.  Coordinate with the Contracting Officer and Installation Environmental Office to determine appropriate action for trees and other landscape features scarred or damaged by equipment operations.

### 3.1.3   Streams

***************************************************************************

NOTE:  Review federal, state, and local requirements and obtain all necessary permits that are required for stream crossings.

***************************************************************************

Stream crossings must allow movement of materials or equipment without violating water pollution control standards of the federal, state, and local governments.  Construction of stream crossing structures must be in compliance with any required permits including, but not limited to, Clean Water Act Section 404, and Section 401 Water Quality.

The Contracting Officer's approval and appropriate permits are required before any equipment will be permitted to ford live streams.  In areas where frequent crossings are required, install temporary culverts or bridges.  Obtain Contracting Officer's approval prior to installation.  Remove temporary culverts or bridges upon completion of work, and repair the area to its original condition unless otherwise required by the Contracting Officer.

## 3.2   STORMWATER

***************************************************************************

NOTE:  Check with Installation Environmental Office to make sure that you are including all relevant state and local agency requirements.

***************************************************************************

Do not discharge stormwater from construction sites to the sanitary sewer.  If the water is noted or suspected of being contaminated, it may only be released to the storm drain system if the discharge is specifically permitted.  Obtain authorization in advance from the Installation Environmental Office for any release of contaminated water.

### [3.2.1   Construction General Permit

***************************************************************************

NOTE:  Include this paragraph and subparagraphs when 1 or more acres (0.4 or more hectares) of total land area are to be disturbed or disturbs less than one acre but is part of a larger common plan of development or sale that will disturb one or more acres.  Coordinate with Installation Environmental Office to determine if project is part of larger common plan of development.  Most states are approved to implement the General Permits Program.  EPA remains the permitting authority in a few states, territories, and on most land in Indian Country.  Refer to

http://water.epa.gov/polwaste/npdes/basics/NPDES-State-Program-Status.cfm for the approved list.  Edit the bracketed item accordingly.

***************************************************************************

Provide a Construction General Permit as required by 40 CFR 122.26 or [EPA][the State of [_____]] General Permit.  Under the terms and conditions of the permit, install, inspect, maintain BMPs, prepare stormwater erosion and sediment control inspection reports, and submit SWPPP inspection reports.  Maintain construction operations and management in compliance with the terms and conditions of the general permit for stormwater discharges from construction activities.

#### 3.2.1.1   Stormwater Pollution Prevention Plan

Submit a project-specific Stormwater Pollution Prevention Plan (SWPPP) to the Contracting Officer for approval, prior to the commencement of work.  The SWPPP must meet the requirements of 40 CFR 122.26 and [the EPA General Permit][the [_____] State General Permit] for stormwater discharges from construction sites.

***************************************************************************

NOTE:  Coordinate with the Installation Environmental Management Office to edit the bracketed items. Use the last bracketed item "d" for Navy only projects when local environmental controls are provided.

***************************************************************************

Include the following:

a.  Comply with terms of the [EPA][state] general permit for stormwater discharges from construction activities.  Prepare SWPPP in accordance with [state][EPA] requirements. Use [state][EPA guide Developing your Stormwater Pollution Prevention Plan located at

http://water.epa.gov/polwaste/npdes/stormwater/Stormwater-Pollution-

Prevention-Plans-for-Construction-Activities.cfm to prepare the SWPPP.]

b.  Select applicable BMPs from EPA Fact Sheets located at

http://water.epa.gov/polwaste/npdes/swbmp/Construction-Site-StormWater-

Run-Off-Control.cfm or in accordance with applicable state or local requirements.

c.  Include a completed copy of the Notice of Intent, BMP Inspection Report Template, and Stormwater Notice of Termination, except for the effective date.

[d.  Comply with additional requirements provided in Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS]

#### 3.2.1.2   Stormwater Notice of Intent for Construction Activities

***************************************************************************

NOTE:  Refer to the Construction General Permit for Construction Activities permit application form to determine if co-permittee status, with the Contractor and Installation covered under one permit, is required by the permitting authority.  Choose first bracketed sentence when co-permittee status is not required.  Choose second bracketed sentence when co-permittee status is required.

Use the last, tailored paragraph for Navy projects only.

***************************************************************************

[Prepare and submit the Notice of Intent for NPDES coverage under the general permit for construction activities to the Contracting Officer for review and approval.

][Prepare and submit a Notice of Intent as a co-permittee to the Contracting Officer, for review and approval.

]Submit the approved NOI and appropriate permit fees onto the appropriate federal or state agency for approval.  No land disturbing activities may commence without permit coverage.  Maintain an approved copy of the SWPPP at the onsite construction office, and continually update as regulations require, reflecting current site conditions.

[Comply with the additional requirements in Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.

#### ]3.2.1.3   Inspection Reports

***************************************************************************

NOTE:  Use the last tailored, bracketed sentence for Navy projects only.

***************************************************************************

Submit "Inspection Reports" to the Contracting Officer in accordance with [EPA][the State of [_____]]Construction General Permit.[  Provide Inspection Reports in accordance with 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.]

#### 3.2.1.4   Stormwater Pollution Prevention Plan Compliance Notebook

***************************************************************************

NOTE:  Use the bracketed option to identify the permit issuing agency.

***************************************************************************

Create and maintain a three ring binder of documents that demonstrate compliance with the Construction General Permit.  Include a copy of the permit Notice of Intent, proof of permit fee payment, SWPPP and SWPPP update amendments, inspection reports and related corrective action records, copies of correspondence with the [EPA][the [_____]State Permitting Agency], and a copy of the permit Notice of Termination in the binder.  At project completion, the notebook becomes property of the Government.  Provide the compliance notebook to the Contracting Officer.

#### 3.2.1.5   Stormwater Notice of Termination for Construction Activities

***************************************************************************

NOTE:  Use bracketed item if as-built topographic survey information is required by the permitting agency for certification of the stormwater management system.

***************************************************************************

Submit a Notice of Termination to the Contracting Officer for approval once construction is complete and final stabilization has been achieved on all portions of the site for which the permittee is responsible.  Once approved, submit the Notice of Termination to the appropriate state or federal agency.[  Prepare as-built topographic survey information required by the permitting agency for certification of the stormwater management system, and provide to the Contracting Officer.]

### ]3.2.2   Erosion and Sediment Control Measures

***************************************************************************

NOTE:  For projects that have a State permit, delete subparagraphs EROSION CONTROL and SEDIMENT CONTROL PRACTICES.

***************************************************************************

Provide erosion and sediment control measures in accordance with state and local laws and regulations.  Preserve vegetation to the maximum extent practicable.

Erosion control inspection reports may be compiled as part of a stormwater pollution prevention plan inspection reports.

#### [3.2.2.1   Erosion Control

***************************************************************************

NOTE:  Use last bracketed sentence if Section 32 92 19 SEEDING is included in the project.

***************************************************************************

Prevent erosion by[ mulching,][ Compost Blankets,][ Geotextiles,][ temporary slope drains,][_____].  Stabilize slopes by[ chemical stabilization,][ sodding,][ seeding,][_____] or such combination of these methods necessary for effective erosion control.  Use of hay bales is prohibited.

[Provide seeding in accordance with Section 32 92 19 SEEDING.

#### ]][3.2.2.2   Sediment Control Practices

***************************************************************************

NOTE:  Select the sediment control practices appropriate for the project.  See

http://water.epa.gov/polwaste/npdes/swbmp/Construction-Site-

Stormwater-Run-Off-Control.cfm.  Use last bracketed sentence when sediment control practices are indicated on the drawings. Include details.

***************************************************************************

Implement sediment control practices to divert flows from exposed soils, temporarily store flows, or otherwise limit runoff and the discharge of pollutants from exposed areas of the site.  Implement sediment control practices prior to soil disturbance and prior to creating areas with concentrated flow, during the construction process to minimize erosion and sediment laden runoff.  Include the following devices:[ silt fence,][ temporary diversion dikes,][ storm drain inlet protection,][_____,][ Location and details of installation and construction are indicated on the drawings.]

### ]3.2.3   Work Area Limits

Mark the areas that need not be disturbed under this Contract prior to commencing construction activities.  Mark or fence isolated areas within the general work area that are not to be disturbed.  Protect monuments and markers before construction operations commence.  Where construction operations are to be conducted during darkness, any markers must be visible in the dark.  Personnel must be knowledgeable of the purpose for marking and protecting particular objects.

### 3.2.4   Contractor Facilities and Work Areas

Place field offices, staging areas, stockpile storage, and temporary buildings in areas designated on the drawings or as directed by the Contracting Officer.  Move or relocate the Contractor facilities only when approved by the Government.  Provide erosion and sediment controls for onsite borrow and spoil areas to prevent sediment from entering nearby waters.  Control temporary excavation and embankments for plant or work areas to protect adjacent areas.

### 3.2.5   Municipal Separate Storm Sewer System (MS4) Management

***************************************************************************

NOTE:  Use this paragraph if the Installation holds a MS4 permit.  Coordinate with the Installation Environmental Office.  Use tailored, bracketed sentence for Navy only projects.

***************************************************************************

Comply with the Installation's MS4 permit requirements.[  Comply with requirements of Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.]

## 3.3   SURFACE AND GROUNDWATER

### 3.3.1   Cofferdams, Diversions, and Dewatering

***************************************************************************

NOTE:  Edit the first sentence by removing items not included in the project.

***************************************************************************

Construction operations for dewatering, removal of cofferdams, tailrace excavation, and tunnel closure must be constantly controlled to maintain compliance with existing state water quality standards and designated uses of the surface water body.  Comply with[ the State of [_____] water quality standards and anti-degradation provisions] [and][ the Clean Water Act Section 404, Nation Wide Permit No. [_____]].  Do not discharge excavation ground water to the sanitary sewer, storm drains, or to surface waters without prior specific authorization in writing from the Installation Environmental Office.  Discharge of hazardous substances will not be permitted under any circumstances.  Use sediment control BMPs to prevent construction site runoff from directly entering any storm drain or surface waters.

If the construction dewatering is noted or suspected of being contaminated, it may only be released to the storm drain system if the discharge is specifically permitted.  Obtain authorization for any contaminated groundwater release in advance from the Installation Environmental Officer and the federal or state authority, as applicable.  Discharge of hazardous substances will not be permitted under any circumstances.

### 3.3.2   Waters of the United States

***************************************************************************

NOTE:  All wetlands on the site or adjacent to the site must be identified on the drawings and this paragraph edited accordingly.  If the wetlands on site must be disturbed, coordination with the regulatory agencies during design for identification of Section 401 and 404 of the Clean Water Act permits whether the permit is an Individual, Nationwide, Regional, State, or Local 404 or similar permit.  Include permit requirements in the LICENSES AND PERMITS paragraph and attach to this specification.  In addition, coordinate any mitigation requirements for the project.

Government Natural Resources staff will approve all Section 404 permit mitigations; the Contractor is not authorized to agree to mitigations on behalf of the Government.

If no wetlands are onsite or adjacent to the site, delete this paragraph in its entirety.  The first sentence should normally remain intact with the first bracketed item.  This will require the Contractor to be cognizant of the responsibility to protect wetlands regardless of whether they are identified on drawings or in the event site conditions have changed since design.

***************************************************************************

Do not enter, disturb, destroy, or allow discharge of contaminants into waters of the United States[.][ except as authorized herein.  The protection of waters of the United States shown on the drawings in accordance with paragraph LICENSES AND PERMITS is the Contractor's responsibility.  Authorization to enter specific waters of the United States identified does not relieve the Contractor from any obligation to protect other waters of the United States within, adjacent to, or in the vicinity of the construction site and associated boundaries.]

## 3.4   PROTECTION OF CULTURAL RESOURCES

***************************************************************************

NOTE:  Obtain the National Historic Preservation Act Section 106 documentation from the Government and include requirements agreed to during the consultation process with the State Historic Preservation Officer. If Section 106 has not been completed delete the following paragraphs.

***************************************************************************

### 3.4.1   Archaeological Resources

***************************************************************************

NOTE:  If there are known archaeological resources on the project site, include the bracketed sentence and show the required protection area and other protection measures on the drawings. The exact location of known archaeological resources is sensitive information that will not be distributed unless necessary for protection. The Contracting Officer will review and approve what is shown on the drawings.

***************************************************************************

[Existing archaeological resources within the work area are shown on the drawings.  Protect these resources and be responsible for their preservation during the life of the Contract.  ]If, during excavation or other construction activities, any previously unidentified or unanticipated historical, archaeological, and cultural resources are discovered or found, activities that may damage or alter such resources will be suspended.  Resources covered by this paragraph include, but are not limited to: any human skeletal remains or burials; artifacts; shell, midden, bone, charcoal, or other deposits; rock or coral alignments, pavings, wall, or other constructed features; and any indication of agricultural or other human activities.  Upon such discovery or find, immediately notify the Contracting Officer so that the appropriate authorities may be notified and a determination made as to their significance and what, if any, special disposition of the finds should be made.  Cease all activities that may result in impact to or the destruction of these resources.  Secure the area and prevent employees or other persons from trespassing on, removing, or otherwise disturbing such resources.  The Government retains ownership and control over archaeological resources.

### [3.4.2   Historical Resources

***************************************************************************

NOTE:  If there are known historical or other cultural resources on the project site, include this paragraph and show the required protection area and other protection measures on the drawings. Show the exact location of known historical resources on the drawings.

***************************************************************************

Existing historical resources within the work area are shown on the drawings.  Protect these resources and be responsible for their preservation during the life of the Contract.

## ]3.5   AIR RESOURCES

Equipment operation, activities, or processes will be in accordance with 40 CFR 64 and state air emission and performance laws and standards.

### 3.5.1   Preconstruction Air Permits

***************************************************************************

NOTE:  Coordinate with local Installation Environmental Office to determine if Government will obtain these permits, or if Contractor will be required to obtain them.

Include permit application fees; coordinate with the Installation Environmental Office for the estimated fee based on project specifics. Fee amount will depend on location of work and type of work.  Typical fees range from $250 to $3500.

***************************************************************************

Notify the Air Program Manager, through the Contracting Officer, at least 6 months prior to bringing equipment, assembled or unassembled, onto the Installation, so that air permits can be secured.  Necessary permitting time must be considered in regard to construction activities.  Clean Air Act (CAA) permits must be obtained prior to bringing equipment, assembled or unassembled, onto the Installation.

[Permits will be provided by the Government.  ][Confirm that these permits have been obtained.]

### 3.5.2   Oil or Dual-fuel Boilers and Furnaces

Provide product data and details for new, replacement, or relocated fuel fired boilers, heaters, or furnaces to the Installation Environmental Office (Air Program Manager) through the Contracting Officer.  Data to be reported include: equipment purpose (water heater, building heat, process), manufacturer, model number, serial number, fuel type (oil type, gas type) size (MMBTU heat input).  Provide in accordance with paragraph PRECONSTRUCTION AIR PERMITS.

### 3.5.3   Burning

***************************************************************************

NOTE:  Edit the paragraph after coordinating with the governing agencies.

***************************************************************************

[Burning is prohibited on the Government premises.] [Burning is allowed on Government premises[; confine fires to a closed vessel that is guarded and under constant surveillance until contents have burned out or have been extinguished].[  Burning must completely reduce the materials to ashes.]]

### 3.5.4   Class I [and II ]ODS Prohibition

Class I [and II ]ODS are Government property and must be returned to the Government for appropriate management.  Coordinate with the Installation Environmental Office to determine the appropriate location for turn in of all reclaimed refrigerant.

### 3.5.5   Accidental Venting of Refrigerant

Accidental venting of a refrigerant is a release and must be reported immediately to the Contracting Officer.

### 3.5.6   EPA Certification Requirements

Heating and air conditioning technicians must be certified through an EPA-approved program.  Maintain copies of certifications at the employees' places of business; technicians must carry certification wallet cards, as provided by environmental law.

### 3.5.7   Dust Control

***************************************************************************

NOTE:  Only use the bracketed sentence if dust suppressants are allowed at the Installation and with permission of the Installation's Environmental office.

***************************************************************************

Keep dust down at all times, including during nonworking periods.[  Sprinkle or treat, with dust suppressants, the soil at the site, haul roads, and other areas disturbed by operations.]  Dry power brooming will not be permitted.  Instead, use vacuuming, wet mopping, wet sweeping, or wet power brooming.  Air blowing will be permitted only for cleaning nonparticulate debris such as steel reinforcing bars.  Only wet cutting will be permitted for cutting concrete blocks, concrete, and bituminous concrete.  Do not unnecessarily shake bags of cement, concrete mortar, or plaster.

#### 3.5.7.1   Particulates

***************************************************************************

NOTE:  This is a general performance type requirement for particulate control.  For projects where special construction activities, such as concrete batch plants, or extensive earthwork are involved, the Designer should consider the need for a more descriptive specification giving methods, frequency of application, and monitoring methods for controlling particulates.

***************************************************************************

Dust particles, aerosols and gaseous by-products from construction activities, and processing and preparation of materials (such as from asphaltic batch plants) must be controlled at all times, including weekends, holidays, and hours when work is not in progress.  Maintain excavations, stockpiles, haul roads, permanent and temporary access roads, plant sites, spoil areas, borrow areas, and other work areas within or outside the project boundaries free from particulates that would exceed 40 CFR 50, state, and local air pollution standards or that would cause a hazard or a nuisance.  Sprinkling, chemical treatment of an approved type, baghouse, scrubbers, electrostatic precipitators, or other methods will be permitted to control particulates in the work area.  Sprinkling, to be efficient, must be repeated to keep the disturbed area damp.  Provide sufficient, competent equipment available to accomplish these tasks.  Perform particulate control as the work proceeds and whenever a particulate nuisance or hazard occurs.  Comply with state and local visibility regulations.

#### 3.5.7.2   Abrasive Blasting

***************************************************************************

NOTE:  Determine whether the paint to be removed contains any hazardous components.  Test a representative sample of the paint in accordance with 40 CFR 261.  Include the bracketed sentence on hazardous material if it is determined the paint is toxic.

***************************************************************************

Blasting operations cannot be performed without prior approval of the Installation Air Program Manager.  The use of silica sand is prohibited in sandblasting.

Provide tarpaulin drop cloths and windscreens to enclose abrasive blasting operations to confine and collect dust, abrasive agent, paint chips, and other debris.[  Perform work involving removal of hazardous material in accordance with 29 CFR 1910.]

### 3.5.8   Odors

Control odors from construction activities.  The odors must be in compliance with state regulations and local ordinances and may not constitute a health hazard.

## 3.6   WASTE MINIMIZATION

Minimize the use of hazardous materials and the generation of waste.  Include procedures for pollution prevention/ hazardous waste minimization in the Hazardous Waste Management Section of the EPP.  Obtain a copy of the installation's Pollution Prevention/Hazardous Waste Minimization Plan for reference material when preparing this part of the EPP.  If no written plan exists, obtain information by contacting the Contracting Officer.  Describe the anticipated types of the hazardous materials to be used in the construction when requesting information.

### 3.6.1   Salvage, Reuse and Recycle

Identify anticipated materials and waste for salvage, reuse, and recycling.  Describe actions to promote material reuse, resale or recycling.  To the extent practicable, all scrap metal must be sent for reuse or recycling and will not be disposed of in a landfill.

Include the name, physical address, and telephone number of the hauler, if transported by a franchised solid waste hauler.  Include the destination and, unless exempted, provide a copy of the state or local permit (cover) or license for recycling.

### 3.6.2   Nonhazardous Solid Waste Diversion Report

***************************************************************************

NOTE:  Edit the Nonhazardous Solid Waste Diversion Report to reflect the Using Service's requirements.

Coordinate the requirements in this paragraph with Section 02 41 00 [DEMOLITION] [AND] [DECONSTRUCTION].

***************************************************************************

Maintain an inventory of nonhazardous solid waste diversion and disposal of construction and demolition debris.  Submit a report to [_____ through] the Contracting Officer on the first working day after each fiscal year quarter, starting the first quarter that nonhazardous solid waste has been generated.  Include the following in the report:

| Construction and Demolition (C&D) Debris Disposed | [_____] [cubic yards][tons],[cubic meters] as appropriate |
| --- | --- |
| C&D Debris Recycled | [_____] [cubic yards][tons],[cubic meters] as appropriate |
| Total C&D Debris Generated | [_____] [cubic yards][tons],[cubic meters] as appropriate |
| Waste Sent to Waste-To-Energy Incineration Plant (This amount should not be included in the recycled amount) | [_____] [cubic yards][tons],[cubic meters] as appropriate |

## 3.7   WASTE MANAGEMENT AND DISPOSAL

### 3.7.1   Waste Determination Documentation

Complete a Waste Determination form (provided at the pre-construction conference) for Contractor-derived wastes to be generated.  All potentially hazardous solid waste streams that are not subject to a specific exclusion or exemption from the hazardous waste regulations (e.g. scrap metal, domestic sewage) or subject to special rules, (lead-acid batteries and precious metals) must be characterized in accordance with the requirements of 40 CFR 261 or corresponding applicable state or local regulations.  Base waste determination on user knowledge of the processes and materials used, and analytical data when necessary.  Consult with the Installation environmental staff for guidance on specific requirements.  Attach support documentation to the Waste Determination form.  As a minimum, provide a Waste Determination form for the following waste (this listing is not inclusive): oil- and latex -based painting and caulking products, solvents, adhesives, aerosols, petroleum products, and containers of the original materials.

#### [3.7.1.1   Sampling and Analysis of Waste

***************************************************************************

NOTE:  Use this paragraph when the project generates HW that are not identified in 40 CFR 261, Hazardous Waste Listing.

Coordinate with the Installation Environmental Office to determine if the installation provides sampling and analysis for Contractor Waste.

***************************************************************************

##### 3.7.1.1.1   Waste Sampling

Sample waste in accordance with EPA SW-846.  Clearly mark each sampled drum or container with the Contractor's identification number, and cross reference to the chemical analysis performed.

##### 3.7.1.1.2   Laboratory Analysis

Follow the analytical procedure and methods in accordance with the 40 CFR 261.  Provide analytical results and reports performed to the Contracting Officer.

##### 3.7.1.1.3   Analysis Type

Identify hazardous waste by analyzing for the following characteristics:[ ignitability,][ corrosivity,][ reactivity,][ toxicity based on TCLP results,] [_____].

### ]3.7.2   Solid Waste Management

#### 3.7.2.1   Solid Waste Management Report

***************************************************************************

NOTE:  Select bracketed item when sales documentation is not available.  Revise close out submittal to include Contractor Certification instead of the sales documentation.

***************************************************************************

Provide copies of the waste handling facilities' weight tickets, receipts, bills of sale, and other sales documentation.  In lieu of sales documentation, a statement indicating the disposal location for the solid waste that is signed by an employee authorized to legally obligate or bind the firm may be submitted.  The sales documentation[ Contractor certification] must include the receiver's tax identification number and business, EPA or state registration number, along with the receiver's delivery and business addresses and telephone numbers.  For each solid waste retained for the Contractor's own use, submit the information previously described in this paragraph on the solid waste disposal report.  Prices paid or received do not have to be reported to the Contracting Officer unless required by other provisions or specifications of this Contract or public law.

#### 3.7.2.2   Control and Management of Solid Wastes

***************************************************************************

NOTE:  Select appropriate disposal alternative.  In some states certain quantities of clearing debris may be classified as solid waste.  Include appropriate language to comply with State requirements.  Remove non-applicable bracketed options.

***************************************************************************

Pick up solid wastes, and place in covered containers that are regularly emptied.  Do not prepare or cook food on the project site.  Prevent contamination of the site or other areas when handling and disposing of wastes.  At project completion, leave the areas clean.  Employ segregation measures so that no hazardous or toxic waste will become co-mingled with non-hazardous solid waste.[  Transport solid waste off Government property and dispose of it in compliance with 40 CFR 260, state, and local requirements for solid waste disposal.  A Subtitle D RCRA permitted landfill is the minimum acceptable offsite solid waste disposal option.  Verify that the selected transporters and disposal facilities have the necessary permits and licenses to operate.][  Haul waste materials to the Government landfill site[ shown on the drawings][ designated by the Contracting Officer].][  Comply with site procedures.][  Segregate and separate treated wood components disposed at a lined landfill approved to accept this waste in accordance with local and state regulations]  Solid waste disposal offsite must comply with most stringent local, state, and federal requirements, including 40 CFR 241, 40 CFR 243, and 40 CFR 258.

Manage hazardous material used in construction, including but not limited to, aerosol cans, waste paint, cleaning solvents, contaminated brushes, and used rags, in accordance with 49 CFR 173.

### 3.7.3   Control and Management of Hazardous Waste

Do not dispose of hazardous waste on Government property.  Do not discharge any waste to a sanitary sewer, storm drain, or to surface waters or conduct waste treatment or disposal on Government property without written approval of the Contracting Officer.

#### 3.7.3.1   Hazardous Waste/Debris Management

Identify construction activities that will generate hazardous waste or debris.  Provide a documented waste determination for resultant waste streams.  Identify, label, handle, store, and dispose of hazardous waste or debris in accordance with federal, state, and local regulations, including 40 CFR 261, 40 CFR 262, 40 CFR 263, 40 CFR 264, 40 CFR 265, 40 CFR 266, and 40 CFR 268.

Manage hazardous waste in accordance with the approved Hazardous Waste Management Section of the EPP.  Store hazardous wastes in approved containers in accordance with 49 CFR 173 and 49 CFR 178.  Hazardous waste generated within the confines of Government facilities is identified as being generated by the Government.  Prior to removal of any hazardous waste from Government property, hazardous waste manifests must be signed by personnel from the Installation Environmental Office.  Do not bring hazardous waste onto Government property.  Provide the Contracting Officer with a copy of waste determination documentation for any solid waste streams that have any potential to be hazardous waste or contain any chemical constituents listed in 40 CFR 372-SUBPART D.

#### 3.7.3.2   Waste Storage/Satellite Accumulation/90 Day Storage Areas

Accumulate hazardous waste at satellite accumulation points and in compliance with 40 CFR 262.34 and applicable state or local regulations.  Individual waste streams will be limited to 208 liter (55 gallons) of accumulation (or 0.95 liter (1 quart) for acutely hazardous wastes).  If the Contractor expects to generate hazardous waste at a rate and quantity that makes satellite accumulation impractical, the Contractor may request a temporary 90 day accumulation point be established.  Submit a request in writing to the Contracting Officer and provide the following information (Attach Site Plan to the Request):

| Contract Number | [_____] |
| --- | --- |
| Contractor | [_____] |
| Haz/Waste or Regulated Waste POC | [_____] |
| Phone Number | [_____] |
| Type of Waste | [_____] |
| Source of Waste | [_____] |
| Emergency POC | [_____] |
| Phone Number | [_____] |
| Location of the Site | [_____] |

Attach a Waste Determination form for the expected waste streams.  Allow 10 working days for processing this request.  Additional compliance requirements (e.g. training and contingency planning) that may be required are the responsibility of the Contractor.  Barricade the designated area where waste is being stored and post a sign identifying as follows:

"DANGER - UNAUTHORIZED PERSONNEL KEEP OUT"

#### 3.7.3.3   Hazardous Waste Disposal

##### [3.7.3.3.1   Responsibilities for Contractor's Disposal

***************************************************************************

NOTE:  Choose this paragraph for Contractor Disposal of the Hazardous Waste.

***************************************************************************

Provide hazardous waste manifest to the Installations Environmental Office for review, approval, and signature prior to shipping waste off Government property.

###### 3.7.3.3.1.1   Services

Provide service necessary for the final treatment or disposal of the hazardous material or waste in accordance with 40 CFR 260, local, and state, laws and regulations, and the terms and conditions of the Contract within 60 days after the materials have been generated.  These services include necessary personnel, labor, transportation, packaging, detailed analysis (if required for disposal or transportation, include manifesting or complete waste profile sheets, equipment, and compile documentation).

###### 3.7.3.3.1.2   Samples

Obtain a representative sample of the material generated for each job done to provide waste stream determination.

###### 3.7.3.3.1.3   Analysis

***************************************************************************

NOTE:  Use this paragraph when the project generates HW that are not identified in 40 CFR 261, Hazardous Waste Listing.

Coordinate with the Installation Environmental Office to determine if the installation provides sampling and analysis for Contractor Waste.

***************************************************************************

Analyze each sample taken and provide analytical results to the Contracting Officer.  See paragraph WASTE DETERMINATION DOCUMENTATION.

###### 3.7.3.3.1.4   Labeling

Determine the Department of Transportation's (DOT's) proper shipping names for waste (each container requiring disposal) and demonstrate to the Contracting Officer how this determination is developed and supported by the sampling and analysis requirements contained herein.  Label all containers of hazardous waste with the words "Hazardous Waste" or other words to describe the contents of the container in accordance with 40 CFR 262.31 and applicable state or local regulations.

##### ][3.7.3.3.2   Contractor Disposal Turn-In Requirements

***************************************************************************

NOTE:  Choose this paragraph if Contractor will turn-in waste into the Installation's waste accumulations facilities.  Coordinate with the Installations Environmental Office to further edit this paragraph to meet Installation requirements.  Contractor will not prepare manifest documentation when this option of disposal is selected.  Coordinate language in other paragraphs to clarify manifesting requirements.

***************************************************************************

Hazardous waste generated must be disposed of in accordance with the following conditions to meet installation requirements:

a.  Drums must be compatible with waste contents and drums must meet DOT requirements for 49 CFR 173 for transportation of materials.

b.  Band drums to wooden pallets.

c.  No more than three 208 liter (55 gallon) drums or two 321 liter (85 gallon) over packs are to be banded to a pallet.

d.  Band using 32 millimeters (1-1/4 inch) minimum band on upper third of drum.

e.  Provide label in accordance with 49 CFR 172.101.

f.  Leave 7 to 12 centimeters (3 to 5 inches) of empty space above volume of material.

#### ]3.7.3.4   Universal Waste Management

***************************************************************************

NOTE:  State requirements may differ from federal regulation. Use last, tailored, bracketed item for Army projects only.

For Navy projects use tailored, bracketed item if Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS provides additional requirements.

***************************************************************************

Manage the following categories of universal waste in accordance with federal, state, and local requirements and installation instructions:

a.  Batteries as described in 40 CFR 273.2

b.  Lamps as described in 40 CFR 273.5

c.  Mercury-containing equipment as described in 40 CFR 273.4

[d.  Pesticides as described in 40 CFR 273.3

]

[d.  Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS

]

Mercury is prohibited in the construction of this facility, unless specified otherwise, and with the exception of mercury vapor lamps and fluorescent lamps.  Dumping of mercury-containing materials and devices such as mercury vapor lamps, fluorescent lamps, and mercury switches, in rubbish containers is prohibited.  Remove without breaking, pack to prevent breakage, and transport out of the activity in an unbroken condition for disposal as directed.

#### 3.7.3.5   Electronics End-of-Life Management

Recycle or dispose of electronics waste, including, but not limited to, used electronic devices such computers, monitors, hard-copy devices, televisions, mobile devices, in accordance with 40 CFR 260-262, state, and local requirements, and installation instructions.

#### 3.7.3.6   Disposal Documentation for Hazardous and Regulated Waste

Contact the Contracting Officer for the facility RCRA identification number that is to be used on each manifest.

***************************************************************************

NOTE:  Use the following bracketed item for Navy projects only.  Coordinate with Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS.  Section 01 57 19.01 20 requires a Base Environmental point of contact be identified for Base specific requirements.

***************************************************************************

[Submit a copy of the applicable EPA and or state permit(s), manifest(s), or license(s) for transportation, treatment, storage, and disposal of hazardous and regulated waste by permitted facilities.  Hazardous or toxic waste manifests must be reviewed, signed, and approved by the Contracting Officer before the Contractor may ship waste.  To obtain specific disposal instructions, coordinate with the Installation Environmental Office.  Refer to Section 01 57 19.01 20 SUPPLEMENTAL TEMPORARY ENVIRONMENTAL CONTROLS for the Installation Point of Contact information.

### ]3.7.4   Releases/Spills of Oil and Hazardous Substances

#### 3.7.4.1   Response and Notifications

Exercise due diligence to prevent, contain, and respond to spills of hazardous material, hazardous substances, hazardous waste, sewage, regulated gas, petroleum, lubrication oil, and other substances regulated in accordance with 40 CFR 300.  Maintain spill cleanup equipment and materials at the work site.  In the event of a spill, take prompt, effective action to stop, contain, curtail, or otherwise limit the amount, duration, and severity of the spill/release.  In the event of any releases of oil and hazardous substances, chemicals, or gases; immediately (within 15 minutes) notify the Installation Fire Department, the Installation Command Duty Officer, the Installation Environmental Office, the Contracting Officer[ and the state or local authority].

Submit verbal and written notifications as required by the federal (40 CFR 300.125 and 40 CFR 355), state, local regulations and instructions.  Provide copies of the written notification and documentation that a verbal notification was made within 20 days.  Spill response must be in accordance with 40 CFR 300 and applicable state and local regulations.  Contain and clean up these spills without cost to the Government.

#### 3.7.4.2   Clean Up

Clean up hazardous and non-hazardous waste spills.  Reimburse the Government for costs incurred including sample analysis materials, clothing, equipment, and labor if the Government will initiate its own spill cleanup procedures, for Contractor- responsible spills, when: Spill cleanup procedures have not begun within one hour of spill discovery/occurrence; or, in the Government's judgment, spill cleanup is inadequate and the spill remains a threat to human health or the environment.

### 3.7.5   Mercury Materials

Immediately report to the Environmental Office and the Contracting Officer instances of breakage or mercury spillage.  Clean mercury spill area to the satisfaction of the Contracting Officer.

Do not recycle a mercury spill cleanup; manage it as a hazardous waste for disposal.

### 3.7.6   Wastewater

***************************************************************************

NOTE:  Coordinate with the Installation Environmental Office.  Identify and obtain permits required by governing agencies.  Insert or delete the brackets with the name of process producing the wastewater.  If there is an area on the project site for a retention pond, a choice may be given for disposal in a retention pond.  If there is a possibility that the water is contaminated, then identify and specify the appropriate analytical testing be performed.

***************************************************************************

#### 3.7.6.1   Disposal of wastewater must be as specified below.

##### 3.7.6.1.1   Treatment

Do not allow wastewater from construction activities, such as onsite material processing, concrete curing, foundation and concrete clean-up, water used in concrete trucks, and forms to enter water ways or to be discharged prior to being treated to remove pollutants.  Dispose of the construction- related waste water[ off-Government property in accordance with 40 CFR 403, state, regional, and local laws and regulations.][ by collecting and placing it in a retention pond where suspended material can be settled out or the water can evaporate to separate pollutants from the water.  The site for the retention pond must be coordinated and approved with the Contracting Officer.  The residue left in the pond prior to completion of the project must be removed, tested, and disposed of off- Government property in accordance with federal, state, and local laws and regulations.  Backfill the area to the original grade, top-soiled, and seeded or sodded.[  Test the water in the retention pond for [_____] and have the results reviewed and approved by the Contracting Officer prior to being discharged or disposed of off- Government property].]

##### 3.7.6.1.2   Surface Discharge

For discharge of ground water,[ obtain a state or federal permit specific for pumping and discharging ground water prior to surface discharging.][  Surface discharge in accordance with federal, state, and local laws and regulations.][  Surface discharge in accordance with the requirements of the NPDES or state STORMWATER DISCHARGES FROM CONSTRUCTION SITES permit.]

##### 3.7.6.1.3   Land Application

Water generated from the flushing of lines after[ disinfection or disinfection in conjunction with hydrostatic testing][ hydrostatic testing] must be[ land- applied in accordance with federal, state, and local laws and regulations for land application][ discharged into the sanitary sewer with prior approval and notification to the Wastewater Treatment Plant's Operator].

## 3.8   HAZARDOUS MATERIAL MANAGEMENT

Include hazardous material control procedures in the Safety Plan, in accordance with Section 01 35 26 GOVERNMENTAL SAFETY REQUIREMENTS.  Address procedures and proper handling of hazardous materials, including the appropriate transportation requirements.  Do not bring hazardous material onto Government property that does not directly relate to requirements for the performance of this contract.  Submit an SDS and estimated quantities to be used for each hazardous material to the Contracting Officer prior to bringing the material on the installation.  Typical materials requiring SDS and quantity reporting include, but are not limited to, oil and latex based painting and caulking products, solvents, adhesives, aerosol, and petroleum products.  Use hazardous materials in a manner that minimizes the amount of hazardous waste generated.  Containers of hazardous materials must have National Fire Protection Association labels or their equivalent.  Certify that hazardous materials removed from the site are hazardous materials and do not meet the definition of hazardous waste, in accordance with 40 CFR 261.

### 3.8.1   Contractor Hazardous Material Inventory Log

***************************************************************************

NOTE:  Use this paragraph for Navy projects only.  Delete for other projects.  Paragraph is tailored to Navy use.

***************************************************************************

Submit the "Contractor Hazardous Material Inventory Log"(found at: https://www.wbdg.org/FFC/NAVGRAPH/graphtoc.pdf), which provides information required by (EPCRA Sections 312 and 313) along with corresponding SDS, to the Contracting Officer at the start and at the end of construction (30 days from final acceptance), and update no later than January 31 of each calendar year during the life of the contract.  Keep copies of the SDSs for hazardous materials onsite. At the end of the project, provide the Contracting Officer with copies of the SDSs, and the maximum quantity of each material that was present at the site at any one time, the dates the material was present, the amount of each material that was used during the project, and how the material was used.

The Contracting Officer may request documentation for any spills or releases, environmental reports, or off-site transfers.

## 3.9   PREVIOUSLY USED EQUIPMENT

Clean previously used construction equipment prior to bringing it onto the project site.  Equipment must be free from soil residuals, egg deposits from plant pests, noxious weeds, and plant seeds.  Consult with the U.S. Department of Agriculture jurisdictional office for additional cleaning requirements.

## [3.10   CONTROL AND MANAGEMENT OF ASBESTOS-CONTAINING MATERIAL (ACM)

Manage and dispose of asbestos- containing waste in accordance with 40 CFR 61.  Refer to [Section 02 82 13.00 10 ASBESTOS ABATEMENT][Section 02 82 16.00 20 ENGINEERING CONTROL OF ASBESTOS CONTAINING MATERIALS].  Manifest asbestos-containing waste and provide the manifest to the Contracting Officer.  Notifications to the state and Installation Air Program Manager are required before starting any asbestos work.

## ][3.11   CONTROL AND MANAGEMENT OF LEAD-BASED PAINT (LBP)

Manage and dispose of lead-contaminated waste in accordance with 40 CFR 745 and[ Section 02 82 33.13 20 REMOVAL/CONTROL AND DISPOSAL OF PAINT WITH LEAD;][ Section 02 83 13.00 20 LEAD IN CONSTRUCTION;][ Section 02 83 19.13 10 LEAD-BASED PAINT ABATEMENT].  Manifest any lead-contaminated waste and provide the manifest to the Contracting Officer.

## ][3.12   CONTROL AND MANAGEMENT OF POLYCHLORINATED BIPHENYLS (PCBS)

Manage and dispose of PCB-contaminated waste in accordance with 40 CFR 761 and Section 02 84 33 REMOVAL AND DISPOSAL OF POLYCHLORINATED BIPHENYLS (PCBS).

## ][3.13   CONTROL AND MANAGEMENT OF LIGHTING BALLAST AND LAMPS CONTAINING PCBS

Manage and dispose of contaminated waste in accordance with 40 CFR 761.[  Refer to Section 02 84 16 HANDLING OF LIGHTING BALLASTS AND LAMPS CONTAINING PCBS AND MERCURY.]

## ][3.14   MILITARY MUNITIONS

***************************************************************************

NOTE:  Delete this paragraph if not needed in the project

***************************************************************************

In the event military munitions, as defined in 40 CFR 260, are discovered or uncovered, immediately stop work in that area and immediately inform the Contracting Officer.

## ]3.15   PETROLEUM, OIL, LUBRICANT (POL) STORAGE AND FUELING

***************************************************************************

NOTE:  Choose one of the last bracketed sentences after coordination with the Installation Environmental Office.

***************************************************************************

POL products include flammable or combustible liquids, such as gasoline, diesel, lubricating oil, used engine oil, hydraulic oil, mineral oil, and cooking oil.  Store POL products and fuel equipment and motor vehicles in a manner that affords the maximum protection against spills into the environment.  Manage and store POL products in accordance with EPA 40 CFR 112, and other federal, state, regional, and local laws and regulations.  Use secondary containments, dikes, curbs, and other barriers, to prevent POL products from spilling and entering the ground, storm or sewer drains, stormwater ditches or canals, or navigable waters of the United States.  Describe in the EPP (see paragraph ENVIRONMENTAL PROTECTION PLAN) how POL tanks and containers must be stored, managed, and inspected and what protections must be provided.[  Storage of oil, including fuel, on the project site is not allowed.  Fuel must be brought to the project site each day that work is performed.][  Storage of fuel on the project site must be in accordance with EPA, state, and local laws and regulations and paragraph OIL STORAGE INCLUDING FUEL TANKS.]

### 3.15.1   Used Oil Management

Manage used oil generated on site in accordance with 40 CFR 279.  Determine if any used oil generated while onsite exhibits a characteristic of hazardous waste.  Used oil containing 1,000 parts per million of solvents is considered a hazardous waste and disposed of at the Contractor's expense.  Used oil mixed with a hazardous waste is also considered a hazardous waste.  Dispose in accordance with paragraph HAZARDOUS WASTE DISPOSAL.

### 3.15.2   Oil Storage Including Fuel Tanks

Provide secondary containment and overfill protection for oil storage tanks.  A berm used to provide secondary containment must be of sufficient size and strength to contain the contents of the tanks plus 12 centimeters (5 inches) freeboard for precipitation.  Construct the berm to be impervious to oil for 72 hours that no discharge will permeate, drain, infiltrate, or otherwise escape before cleanup occurs.  Use drip pans during oil transfer operations; adequate absorbent material must be onsite to clean up any spills and prevent releases to the environment.  Cover tanks and drip pans during inclement weather.  Provide procedures and equipment to prevent overfilling of tanks.  If tanks and containers with an aggregate aboveground capacity greater than 5000 liter (1320 gallons) will be used onsite (only containers with a capacity of 208 liter (55 gallons) or greater are counted), provide and implement a SPCC plan meeting the requirements of 40 CFR 112.  Do not bring underground storage tanks to the installation for Contractor use during a project.  Submit the SPCC plan to the Contracting Officer for approval.

Monitor and remove any rainwater that accumulates in open containment dikes or berms.  Inspect the accumulated rainwater prior to draining from a containment dike to the environment, to determine there is no oil sheen present.

## 3.16   INADVERTENT DISCOVERY OF PETROLEUM-CONTAMINATED SOIL OR HAZARDOUS WASTES

If petroleum-contaminated soil, or suspected hazardous waste is found during construction that was not identified in the Contract documents, immediately notify the Contracting Officer.  Do not disturb this material until authorized by the Contracting Officer.

## [3.17   PEST MANAGEMENT

***************************************************************************

NOTE:  Use the following paragraphs for Army projects only.  Do not use for Navy, Air Force or NASA projects.  Paragraphs are tailored for Army use.

***************************************************************************

***************************************************************************

NOTE:  DoD Installations are required under DoDI 4150.7 to develop an integrated pest management plan (IPMP).  This does not apply to USACE Civil Works Projects.  The Facility IPMP has been developed by the installation to identify potential pest-related risks of damage to installation properties as well as approaches to be used to limit these risks.  The Designer should coordinate with the Installation Pest Management Coordinator early in the design process to address structural, landscaping and other pest damage reduction alternatives to pesticide applications when cost effective.  This effort may be multidisciplinary in scope (e.g. planner/landscape architect and natural resource manager).  The pest management plans and strategies developed during design and construction should be reviewed and approved by DoD pest management professionals and coordinated with IPMC as required by DA AR 200-1 and DoDI 4150.7.

***************************************************************************

***************************************************************************

NOTE:  The following paragraph is to be used when the application of pest management chemicals is OR is NOT anticipated.  These requirements must be included as a plan within the Environmental Protection Plan.  When a pest is known to be in the soil, identify the pest and the area to be treated.  This paragraph should be left intact to cover pesticides applications not anticipated by the Designer.  When termiticide is required, include the bracketed sentence and Section 33 40 00 STORM DRAINAGE UTILITIES in the contract specifications.  Delete last sentence when not applicable.  The "installation pest management coordinator" is a term used in DA AR 200-1.  DA AR 200-1 is not applicable to USACE Civil Works activities.  Appropriate USACE personnel should be referenced when this specification is used for civil works.  See CECW-ON EP 1130-2-540 ENVIRONMENTAL STEWARDSHIP OPERATIONS AND MAINTENANCE GUIDANCE AND PROCEDURES, Chapter 3 - Pest Control Program for Civil Works Projects.

***************************************************************************

In order to minimize impacts to existing fauna and flora, coordinate with the Installation Pest Management Coordinator (IPMC) or Project Pesticide Coordinator (PPC), through the Contracting Officer, at the earliest possible time prior to pesticide application.  Discuss integrated pest management strategies with the [IPMC][PPC] and receive concurrence from the [IPMC][PPC] through the Contracting Officer prior to the application of any pesticide associated with these specifications.  Provide Installation Project Office Pest Management personnel the opportunity to be present at meetings concerning treatment measures for pest or disease control and during application of the pesticide.[  For termiticide requirements, see[ Section 31 31 16.13 CHEMICAL TERMITE CONTROL][ Section 31 31 16.19 TERMITE CONTROL BARRIERS]]  The use and management of pesticides are regulated under 40 CFR 152 - 186.

### 3.17.1   Application

Apply pesticides using a state-certified pesticide applicator in accordance with EPA label restrictions and recommendation.  The certified applicator must wear clothing and personal protective equipment as specified on the pesticide label.  The Contracting Officer will designate locations for water used in formulating.  Do not allow the equipment to overflow.  Inspect equipment for leaks, clogging, wear, or damage and repair prior to application of pesticide.

### 3.17.2   Pesticide Treatment Plan

***************************************************************************

NOTE:  The pesticide treatment plan serves two purposes:  It provides a mechanism for early coordination with the appropriate installation personnel through the Contracting Officer and provides a mechanism for reporting pesticide use information to the Installation as required by the Federal Insecticide Fungicide and Rodenticide Act (FIFRA).  For military construction, this information must be provided to the Installation under DoDI 4150.7 DoD Pest Management Instruction, under DA AR 200-1, Chapter 5--Pest Management.

***************************************************************************

Include and update a pesticide treatment plan, as information becomes available.  Include in the plan the sequence of treatment, dates, times, locations, pesticide trade name, EPA registration numbers, authorized uses, chemical composition, formulation, original and applied concentration, application rates of active ingredient (that is, pounds of active ingredient applied), equipment used for application and calibration of equipment.  Comply with 40 CFR 152-189, state, regional, and local pest management record-keeping and reporting requirements as well as any additional Installation Project Office specific requirements in conformance with [DA AR 200-1 Chapter 5, Pest Management, Section 5-4 "Program requirements"] for data required to be reported to the Installation.

## ]3.18   CHLORDANE

Evaluate excess soils and concrete foundation debris generated during the demolition of housing units or other wooden structures for the presence of chlordane or other pesticides prior to reuse or final disposal.

## 3.19   SOUND INTRUSION

***************************************************************************

NOTE:  Insert State's name or remove last sentence when State rules are not applicable.  Include any facility specific requirements such as operational hours around base housing.

***************************************************************************

Make the maximum use of low-noise emission products, as certified by the EPA.  Blasting or use of explosives are not permitted without written permission from the Contracting Officer, and then only during the designated times.  Confine pile-driving operations to the period between [_____] [8 a.m.] and [_____] [4 p.m.], [_____] [Monday through Friday], exclusive of holidays, unless otherwise specified.

Keep construction activities under surveillance and control to minimize environment damage by noise.  Comply with the provisions of the State of [_____] rules.

## 3.20   POST CONSTRUCTION CLEANUP

Clean up areas used for construction in accordance with Contract Clause: "Cleaning Up".  Unless otherwise instructed in writing by the Contracting Officer, remove traces of temporary construction facilities such as haul roads, work area, structures, foundations of temporary structures, stockpiles of excess or waste materials, and other vestiges of construction prior to final acceptance of the work.  Grade parking area and similar temporarily used areas to conform with surrounding contours.

-- End of Section --